APPLICATION FORM

Application for Registration as a Network Service Provider in the NEM

Please complete this Application form using the appropriate Application Guide, and any other documents and information sources mentioned in this document.

The information in this Application Form is not to be altered without the prior written consent of Australian Energy Market Operator Ltd (AEMO).

Terms

Terms defined in the National Electricity Rules (Rules or NER) have the same meanings in this Application Form unless otherwise specified. Those terms are intended to be identified in this form by italicising them, but failure to italicise such a term does not affect its meaning.

Application Submission

To apply for Registration as a Network Service Provider in the NEM:

Complete this Application Form for AEMO. Please ensure all required sections are complete and any prerequisites are met.

Sign the form. If using a digital signature, please ensure the signatory is copied into the submission email.

Ensure any required letter of authority is in place. For more information and a template letter of authority please see AEMO’s website.

Email a copy of the completed, signed form including all attachments to the AEMO Market Registration Team via email to onboarding@aemo.com.au.

- Note: AEMO’s Market Registration team is unable to access external file share links. Please attach all documentation along with the form, and if files are over 10MB please use a zip file. Multiple emails are acceptable. If sending multiple emails, please number each email.

V1

Contents

Section A. Participant Category	1

Section B. Application Details	1

B.1.	Applicant details	1

B.2.	Applicant association	1

B.3.	Intermediary	2

B.4.	Evidence of AER exemption	2

B.5.	Declaration	2

Section C.	Contact Details	3

C.1.	Registration Contact	3

C.2.	Head office and branch office contact details	3

C.3.	Personnel Contacts	4

Section D.	Required Information	6

D.1.	Partnership Status	6

D.2.	Trust status	6

D.3.	Organisational Capability	6

D.4.	Financial Viability	6

D.5.	Regulatory Compliance	7

D.6.	Participant Criteria	7

D.7.	Credit Support	7

D.8.	Recipient Created Tax Invoice	7

D.9.	Austraclear	8

Section E.	System Details	8

Section F.	Local Black System Procedures	8

Section G.	Register as a Market Network Service Provider	9

G.1.	Register as a Market Network Service Provider	9

G.2.	Market network service	9

G.3.	Market network service information	9

G.4.	Conditions for connection	10

Section H.	Register as a Network Service Provider	14

Section I.	Metering Requirements	17

I.1.	Connection Point Checklist	17

I.2.	Meter Installation Checklist	18

I.3.	Metering information for Network Service Providers without network assets	20

Section J.	IT Systems	20

J.1.	MarketNet connection	20

J.2.	IT Notifications email address	21

J.3.	e-Hub access	21

Application Overview

Complete this Application Form to apply for registration in the National Electricity Market (NEM) as a Network Service Provider.

Where a field in the application form is ‘Not Applicable’ to the Applicant, please put “NA” in the field.

For help in completing this form, refer to the Application Guide for Registration as a Network Service Provider available from the AEMO website.

Please direct any questions regarding the application to the AEMO Registration Team email: onboarding@AEMO.com.au.

# Participant Category

This application is for registration as a Network Service Provider* in the NEM.

Under clause 2.5.1 of the NER, and subject to its sub-clauses, a proprietor must not engage in the activity of owning, controlling, or operating a transmission or distribution system unless that proprietor is registered by AEMO as a Network Service Provider.

Please select the applicable registration category of Network Service Provider:

Transmission System	 Distribution System

Will the applicant be operating in a Renewable Energy Zone (REZ):  Yes        No

# Application Details

Please clearly mark all attachments as “Attachment to Section B“ and number each page consecutively.

## Applicant details

| Entity Name: |  |  |  |
| --- | --- | --- | --- |
| Trading Name: |  |  |  |
| ABN: |  | ACN: |  |
| Participant ID: |  |  |  |

## Applicant association

Please confirm the Applicant’s association with the transmission or distribution system described in Section E is as follows (mark ALL that apply):

Controller

Operator

Owner

Intermediary (please complete Section B.3, Intermediary)

## Intermediary

Evidence of intermediary arrangements

Under NER 2.9.3(c), please provide documentation that evidences an intermediary arrangement in relation to the transmission system or distribution system.

Please confirm the following which the intermediary acts in relation to:

All the business in respect of the transmission system or distribution system described in Section E.

Part of the business in respect of the transmission system or distribution system described in Section E, and that part represents one or more discrete systems, distribution systems or transmission systems.

The Applicant consents to act as an Intermediary for the following proprietor who will own, control and/or operate the transmission or distribution system, and who have nominated the Applicant to act as its Intermediary. Each party for which the Applicant is acting as an Intermediary will need to submit an exemption application form.

| Nominator name | ABN | Relationship with the generating system (controller, operator and/or owner) |
| --- | --- | --- |

Consent of intermediary

Please provide evidence of the consent of the proprietors identified in section B.3.1 to act as an intermediary under NER clause 2.9.3(b)(2).

## Evidence of AER exemption

The Applicant holds an exemption from the requirement to register as a Network Service Provider under NER clause 2.5.1(d).

By submitting this application, the Applicant consent to AEMO contacting the AER to seek confirmation about the application for, and grant of, any exemption under clause 2.5.1(d) of the Rules.

Please provide a copy of the application(s) to the AER for exemption from registration in respect of all nominating proprietors, and a copy of the AER exemption.

## Declaration

The Applicant is applying to be registered as a Network Service Provider in the NEM which is managed by AEMO under the NER.

The Applicant declares that they authorise, approve, and accept that, in respect of this application and any related future application:

- AEMO may communicate with any proprietor, as appropriate, including to verify information,

- AEMO may treat any communication on the Applicant’s behalf, whether physical or electronic through a login to AEMO’s systems (including using access rights given by a Participant Administrator), as being an:

  - Authorised officer,

  - Delegate, appointed by the Applicant’s authorised officer, or

  - Agent, appointed by the Applicant’s authorised officer (including a registration contact in respect of this application), without AEMO requiring a separate letter of authority in this regard.

- AEMO may rely on any such communication, as being:

  - The Applicant’s in respect of any acts, omissions, statements, representations, and notices,

  - Instructed by the Applicant, regardless of whether any such instruction has been given, or its terms; and

  - Complete, true, and correct.

I,       declare that I am authorised to submit this Application on the Applicant’s behalf and certify that the contents of this Application and any further submissions are true and correct.

| Signature: |  | Date: |  |
| --- | --- | --- | --- |

# Contact Details

Please clearly mark all attachments as “Attachment to Section C” and number each page consecutively.

The Applicant must provide contact details to assist with communication between AEMO and their organisation. Provide contact details for the Applicant head office and any branch offices.

## Registration Contact

Please provide contact details for all questions regarding this Application.

| Name: |  |  |  |
| --- | --- | --- | --- |
| Position: |  | Email: |  |
| Phone: |  | Mobile: |  |

## Head office and branch office contact details

| Office Name*: |  |  |  |
| --- | --- | --- | --- |
| Street address: |  |  |  |
| State: |  | Postcode: |  |
| Postal address: |  |  |  |
| State: |  | Postcode: |  |
| Phone: |  |  |  |
| Email: |  |  |  |
| - * Type “Head Office” or the name of the branch |  |  |  |

## Personnel Contacts

Provide details for the following roles in the Applicant desired format, for example, a list exported from Microsoft Outlook, Excel, or Word and check each checkbox in the list below to confirm details have been provided.

The minimum details required are role(s), name, position, phone number, mobile number, email, and office address.

Each contact can have more than one role.

| Mandatory Contacts |  |
| --- | --- |
| CEO / MD |  |
| CEO / MD Assistant |  |
| Chair |  |
| Communications – Corporate Relations Manager |  |
| Communications – Crisis Contact |  |
| Company Secretary |  |
| Dispute Management Contact |  |
| IT After Hours / Emergency Contact (Primary) |  |
| IT After Hours / Emergency Contact (Secondary) |  |
| IT Manager |  |
| IT Security Contact (Primary) |  |
| IT Security Contact (Secondary) |  |
| IT Technical Network Contact |  |
| Local Black System Contact |  |
| Metering – Data Wholesale |  |
| Metering – Manager |  |
| Metering – Proprietor Responsible |  |
| Metering – Strategy |  |
| Metering – Technical |  |
| Metering – Technology |  |
| Operations – Manager |  |
| Operations – Shift Supervisor |  |
| NEM Observer |  |
| NEM Primary Contact |  |
| Registration Contact (must match Section C.1 details) |  |
| 24/7 Control Room Operational Contact |  |

| Additional Contacts if changes made to currently registered contact |  |
| --- | --- |
| Operations – Bidding Contact |  |
| Operations – Trading Manager |  |
| Settlements – Austraclear |  |
| Settlements – Finance Manager |  |
| Settlements – Prudentials |  |
| Settlements – Settlements Manager |  |
| Settlements – Settlements Officer |  |

| Additional Contacts if the Applicant are NOT classifying a market network service |  |
| --- | --- |
| IT Network / Communications Contact |  |
| Connections Manager |  |
| Network Planning Manager |  |

# Required Information

Include the following information (where relevant) and attach evidence to this application. Click in each checkbox to indicate that the Applicant have attached the information required. If the Applicant cannot address all necessary items, please provide a reason in the field provided.

Please clearly mark all attachments as “Attachment to Section D” and number each page consecutively.

## Partnership Status

Is the Applicant applying on behalf of a partnership?	 Yes	 No

If Yes,

Please attach a partnership agreement.

| Reason if not attached: |  |
| --- | --- |

## Trust status

Is the Applicant applying for registration on behalf of a Trust?	 Yes	 No

If Yes,

Please attach a copy of the Trust Deed establishing the Trust.

Please attach an executed Trustee Deed Poll in favour of AEMO.

| Reason if not attached: |  |
| --- | --- |

## Organisational Capability

Please confirm the following information has been considered, and attached if applicable:

An organisation chart and other documents detailing the necessary expertise to comply with the Rules, where related, carry out electricity industry operations, including operations management, settlements, and risk management.

A corporate structure chart explaining any links with a parent company or other organisations that provides evidence of the Applicant’s ability to comply with the Rules.

Brief resumes of key managers and information about their responsibilities.

A document that demonstrates the NEM-related policies and procedures which are already in place or under development (do not submit the documents to AEMO, simply advise that they exist or are being developed).

Evidence of the IT systems in place to support the Applicant’s intended NEM activities.

If the Applicant has not participated in the NEM before, evidence they have brought in expertise to ensure they can meet the obligations.

| Reason if not attached: |  |
| --- | --- |

## Financial Viability

Note: This section is applicable to Market Network Service Provider Applicants only.

Copies of recently audited financial statements are attached. If no audited statements are available, please provide parent organisation financial statements, and partnership or trustee financials.

An explanation of financial links with parent organisations and other organisations that may improve financial viability is attached.

| Reason if not attached: |  |
| --- | --- |

## Regulatory Compliance

Please indicate if the Applicant has an existing jurisdictional electricity licence or authorisation to carry on the activity of a Network Service Provider?

Yes:	Provide copy of current electricity licence or authorisation in one or more NEM jurisdictions.

No: 	Provide evidence of exemption from the requirement to hold a jurisdictional electricity licence or, if relevant, explain why no such requirement applies. Include copies of any applicable exemption or derogation.

| Reason if not attached: |  |
| --- | --- |

Please indicate if there any outstanding non-compliances with regulatory obligations in respect of existing or proposed activities as a Network Service Provider by any proprietor associated with this application?

Yes:	Provide details of any non-compliance

No

| Reason if not attached: |  |
| --- | --- |

## Participant Criteria

The Applicant declares that it is:

A resident in, or has a permanent establishment in, Australia,

Not immune from suit in respect of the obligations of the Participant under the Rules; and,

Capable of being sued in its own name in an Australian court.

## Credit Support

Note: This section is applicable to Market Network Service Provider Applicants only.

Does the Applicant meet the acceptable credit criteria detailed in clause 3.3.3 of the Rules?

Yes: 	Please provide evidence that the Applicant meets the criteria.

No: 	The Applicant is then required to provide credit support.

Note: Applicants applying to register as a Market Participant that do not meet the acceptable credit criteria must provide credit support equal to or greater than their maximum credit limit (MCL). On receipt of the Application, AEMO will request an estimate of the Applicant’ s daily energy usage in MWh during the first 3 months of operation to determine the MCL. A guarantee is required from the Applicant financial institution and must be in the AEMO Guarantee Pro Forma format available on the AEMO website.

For further assistance with financial guarantees, see the Credit Support Management Guide on the AEMO website.

| Reason if not attached: |  |
| --- | --- |

## Recipient Created Tax Invoice

Note: This section is applicable to Market Network Service Provider Applicants only.

If the Applicant company (having the same ABN as this application) has signed a current version of the Recipient Created Tax Invoice Agreement (RCTI), the Applicant do not need to complete a new one. To see if the Applicant RCTI is still current, check the Last Updated date in the latest Agreement's "notes for completion".

If the Applicant needs to complete an RCTI, please submit the application with a completed copy of the RCTI available from the AEMO website.

## Austraclear

Austraclear is only required for market settlement (Market Network Service Provider or Transmission Network Service Provider with interconnector).

AEMO uses an external electronic funds transfer system provided by Austraclear. Please apply directly to Austraclear for membership. Membership approvals can take up to five weeks to process and charges are payable direct to Austraclear. See https://www.asx.com.au/services/settlement/austraclear.htm.

| Austraclear Membership Number: |  |
| --- | --- |
| Is the Applicant the Austraclear Account Holder? Yes No: Please provide evidence of permission from an authorised officer on behalf of the Austraclear account holder for the Applicant to use this Austraclear account. Reason if not attached:. |

# System Details

Please provide information with respect to the network.

Transmission or distribution system details:

| System Name |  |  |  |
| --- | --- | --- | --- |
| System Description: |  |  |  |
| Line Length (in km): |  | Voltage: |  |
| From Network Connection Location: |  |  |  |
| To Connection Location(s): |  |  |  |
| Assets |  |  |  |

Please submit the following supporting documents for each System:

Single line diagram attachment as “Attachment to Section E” and number each page consecutively.

Upon completion of the above details, please proceed to Sections F through to J for providing demonstrated capability and accompanying evidence for registration as a Network Service Provider.

# Local Black System Procedures

Please enclose an updated version of the local black system procedures for each relevant transmission system or distribution system as an attachment to this section.

Please clearly mark all attachments as "Attachment to Section F" and number each page consecutively.

| Reason if not attached: |  |
| --- | --- |

# Register as a Market Network Service Provider

Note: This section is applicable to Market Network Service Provider Applicants only.

Please clearly mark all attachments as "Attachment to Section G" and number each page consecutively.

## Register as a Market Network Service Provider

Please confirm the classification of service:

Registration of a Market Network Service. Continue to section G.2.

Registration of a Network Service. Proceed to Section H.

## Market network service

Please indicate the following conditions have been satisfied and will continue to be satisfied. Include supporting evidence from the Network Service Providers whose networks are connected to the Applicant network service and government authorities where relevant as per clause 2.5.2(a).

The network elements which provide the relevant market network service are contained within the transmission or distribution system described in Section E (see below).

The relevant network service is to be provided by network elements that comprise a two-terminal link and do not provide any prescribed transmission service or prescribed distribution service.

The relevant network service:

Has never been a transmission service to which a transmission determination has applied or a direct control service, or

Is ineligible to be such a service.

The connection points of the relevant two-terminal link are assigned to different regional reference nodes.

The relevant two-terminal link through which the network service is provided:

Does not form part of a network loop, or

Is an independently controllable two-terminal link and has a registered power transfer capability of at least 30 MW.

- Please supply evidence of participant derogations provided by the AEMC if applicable.

## Market network service information

| Installation / link name (Station name - Maximum of 20 characters) |  |  |
| --- | --- | --- |
| Suggested installation / link name identifier (Station ID - Maximum of 8 characters) |  |  |
| Dispatchable unit identifier(s) | A | B |
| Connection point identifiers for terminal nodes A and B | A | B |
| Meter ID (NMI) | A | B |
| Maximum power transfer capability to node A (Maximum Capacity of node A) | MW |  |
| Maximum power transfer capability to node B (Maximum Capacity of node B) | MW |  |
| Maximum ramp rate of power transfer capability (Maximum Rate of Change of node A and node B) | MW / minute |  |

## Conditions for connection

Please complete the following table confirming compliance with the technical requirements of Chapter 5 and Schedule 5.3a of the NER by indicating YES in the Compliance column and any evidence with respect to the relevant Rules.

If compliance was left blank, for example, if the clause is not relevant to the Applicant’s circumstances, please explain why in the Comment column. A reference to the specific attachment is also to be noted in the Comments column.

Shaded areas do not require completion and are included for ease of reference.

Please clearly mark all attachments as "Attachment to Section G" and number each page consecutively.

| Schedule 5.3a Conditions for Connection of Market Network Services |  |  |  |
| --- | --- | --- | --- |
| Clause | Clause Text | Comment | Compliance |
| S5.3a.2 | Application of settings |  |  |
|  | A Market Network Service Provider must only apply settings to a control system or a protection system that are necessary to comply with performance requirements of this schedule 5.3a if the settings have been approved in writing by the Network Service Provider and, if the requirement is one that would involve AEMO under clause 5.3.4A(c) of the Rules, also by AEMO. A Market Network Service Provider must not allow its market network service facilities to take electricity from the power system without such prior approval. |  |  |
|  | If a Market Network Service Provider seeks approval from the Network Service Provider to change a setting, approval must not be withheld unless the Network Service Provider or, if the requirement is one that would involve AEMO under clause 5.3.4A(c) of the Rules, AEMO, reasonably determines that the changed setting would cause the market network service facilities to become non-compliant with relevant performance standards or cause an inter-regional/intra-regional power transfer capability reductions. |  |  |
|  | If the Network Service Provider or, if the requirement is one that would involve AEMO under clause 5.3.4A(c) of the Rules, AEMO, reasonably determines that a setting of a market network service facility control system or protection system needs to change to comply with the relevant performance standard or to maintain or restore an inter-regional/intra-regional power transfer capability, the Network Service Provider or AEMO (as applicable) must consult with the Market Network Service Provider, and may request in writing that a setting be applied. |  |  |
|  | The Network Service Provider may also request a test to verify the performance of the relevant plant with the new setting. The Network Service Provider must provide AEMO with a copy of its request to a Market Network Service Provider to apply a setting or to conduct a test. |  |  |
|  | A Market Network Service Provider who receives such a request must arrange for the notified setting to be applied as requested and for a test to be conducted as requested. After the test, the Market Network Service Provider must, on request, provide both AEMO and the Network Service Provider with a report of a requested test, including evidence of its success or failure. Such a report of a test is confidential information. |  |  |
|  | A Market Network Service Provider must not change a setting requested by the Network Service Provider without prior written agreement. If the Network Service Provider requires a Market Network Service Provider to change a setting within 18 months of a previous request, the Network Service Provider must pay the Market Network Service Provider reasonable costs of changing the setting and conducting the tests as requested. |  |  |
| S5.3a.4 | Monitoring and control requirements |  |  |
| S5.3a.4.3 | Communications Equipment |  |  |
|  | A Market Network Service Provider must provide electricity supplies for any remote monitoring and remote-control equipment installed in relation to its facilities and be capable of keeping such equipment available for at least three hours following a total loss of supply at the connection point for their facility. |  |  |
|  | A Market Network Service Provider must provide communications paths (with appropriate redundancy) for any remote monitoring or remote-control equipment installed at any of its facilities that can tie into a communications interface in a location reasonably acceptable to the Network Service Provider at the relevant connection point. Communications systems between this interface and the control centre are the responsibility of the Network Service Provider unless otherwise agreed by the Market Network Service Provider and the Network Service Provider. |  |  |
|  | Telecommunications between Network Service Providers and Market Network Service Providers for operational communications must be established in accordance with the requirements set down below. |  |  |
| S5.3a.4.3 (a) | Primary Speech Facility |  |  |
|  | The relevant Network Service Provider must provide and maintain equipment by means of which routine and emergency control telephone calls may be established between the Market Network Service Provider’s responsible Engineer/Operator and AEMO. |  |  |
|  | The facilities to be provided, including the interface requirement between the Network Service Provider’s equipment and the Market Network Service Provider’s equipment must be specified by the Network Service Provider. |  |  |
|  | The costs of the equipment must be recovered by the Network Service Provider only through the charge for connection. |  |  |
| S5.3a.4.3 (b) | Back-up Speech Facility |  |  |
|  | Where the Network Service Provider or AEMO reasonably determines that a back-up speech facility to the primary facility is required, the Network Service Provider must provide and maintain a separate telephone link or radio installation on a cost-recovery basis only through the charge for connection. |  |  |
|  | The Network Service Provider is responsible for radio system planning and for obtaining all necessary radio licences. |  |  |
| S5.3a.5 | Design standards |  |  |
|  | A Market Network Service Provider must ensure that: |  |  |
|  | - the electrical plant in its facility complies with the relevant Australian Standards as applicable at the time of first installation of that electrical plant in the facility; |  |  |
|  | - circuit breakers provided to isolate the Market Network Service Provider’s facilities from the Network Service Provider’s facilities are capable of breaking, without damage or restrike, fault currents nominated by the Network Service Provider in the relevant connection agreement; and |  |  |
|  | - all new equipment including circuit-breakers provided to isolate the Market Network Service Provider’s facilities from the Network Service Provider’s facilities is capable of withstanding, without damage, power frequency voltages and impulse levels nominated by the Network Service Provider in accordance with the relevant provisions of the system standards and recorded in the relevant connection agreement. |  |  |
| S5.3a.13 | Market network service response to disturbances in the power system |  |  |
| S5.3a.13 (a) | Each market network service must be capable of continuous uninterrupted operation during the occurrence of: |  |  |
|  | - power system frequency within the frequency operating standards; or |  |  |
|  | - the range of voltage variation conditions permitted by the system standards. |  |  |
| S5.3a.13 (b) | The equipment associated with each market network service must be designed to withstand without damage or reduction in life expectancy the harmonic distortion and voltage unbalance conditions determined to apply in accordance with the provisions of schedule 5.1, clauses S5.1.6 and S5.1.7, respectively, at the connection point. |  |  |

# Register as a Network Service Provider

Please complete the following table confirming the Applicant can demonstrate the specified capability as a Network Service Provider by indicating YES in the Compliance column and any evidence with respect to the relevant Rules.

If compliance was left blank, for example, if the clause is not relevant to the Applicant’s circumstances, please explain why in the Comment column. A reference to the specific attachment is also to be noted in the Comments column.

Please clearly mark all attachments as "Attachment to Section H" and number each page consecutively.

| Conditions for Registration as a Network Service Provider |  |  |  |
| --- | --- | --- | --- |
| Capability | Required Information | Comment | Compliance |
| Power System Security and Operation | Detailed design documents in the form of brochures, manufacturers documents, test certificates for proposed implementation or finalised documents of the Energy Monitoring System (EMS) / Supervisory Control and Data Acquisition (SCADA) system deployed (or proposed to be deployed) by the Applicant connecting to AEMO systems. Please include the following details: - How the system meets the requirements of the Power System Data Communication Standard. - General capabilities such as state estimation, contingency analysis, voltage stability analysis, transient stability analysis, etc. - How the system will support the Applicant to maintain situational awareness and operate its network in accordance with the Power System Stability Guidelines. |  |  |
|  | Documentation of detailed timelines (i.e., Gantt Chart) for and the key elements of the Applicant’s Local Black System Procedure (LBSP). These items are set out in the Guidelines for Preparing Local Black System Procedures. AEMO ¦ Power system operation The final LBSP is required to be submitted to AEMO prior to first energisation of any part of the Applicant’s network. |  |  |
|  | Design plan of and the detailed arrangements of the Applicant’s 24/7 control room function physically located within Australia, including appropriate backup and/or disaster recovery arrangements. Please refer to System Restart Communications Protocol. AEMO ¦ System Restart Communication Protocol |  |  |
|  | Documentation outlining organisational structure, experience, and competency of key personnel (supply resumes), to operate the Applicant’s network in accordance with the power system operating procedures and explains the Applicant ability to comply with the Rules. |  |  |
|  | Documentation outlining experience and competency of any third parties that provide capability and/or perform functions on the Applicant behalf. |  |  |
|  | Detailed process documentation outlining the Applicant’s ability to respond to, coordinate, rectify, and recover from power system operating incidents and other power system emergency conditions. |  |  |
| Network Connection | Detailed documentation of procedures for the Applicant’s organisational capability to receive and process applications to connect to the Applicant’s network. This includes existing or planned arrangements for access to appropriate human resources, analysis systems, and similar capability. |  |  |
|  | Modelling documentation of the Applicant’s ability to conduct detailed and complex power system analysis, including power flow, Root Mean Square (RMS) stability, Small-signal and Electromagnetic Transient (EMT) studies as per the Power System Model Guidelines (PSMG). |  |  |
|  | Evidence of ability to plan and conduct test and commissioning activities to demonstrate compliance with Rules performance standards for both the Applicant’s own network and any party connecting to the Applicant’s network. |  |  |
|  | Policy documentation of the Applicant’s policies for managing confidential information, including data provisions from generators, AEMO, Network Service Providers and Original Equipment Manufacturers (OEM). |  |  |
| Network Planning and Performance | Design documentation demonstrating the Applicant’s network will be designed and operated to meet the network performance requirements in Schedule 5.1 of the Rules on an ongoing basis. |  |  |
|  | Documentation demonstrating the Applicant understands obligations under 4.10.1 of the Rules to provide advanced schedule of network outages. |  |  |

# Metering Requirements

## Connection Point Checklist

Note: This section is applicable to Market Network Service Provider Applicants only.

Ensure the Metering – Technical contact details have been completed and attached in Section C.

| General and technical details |  |  |  |
| --- | --- | --- | --- |
| Connection Point Registration Type | New Existing |  |  |
| Expected Commissioning Date |  |  |  |
| Connection Point NMI(s) |  |  |  |
| Logical NMI – Algorithm | Yes No If Yes, provide details. Attached |  |  |
| Transmission Node ID (TNI) |  |  |  |
| List any TNIs or NMIs to be made extinct? |  |  |  |
| Single Line (Schematic) drawing of the Connection Point showing installation details | Drawing Number: Attached |  |  |
| Detailed wiring diagram of the Metering Installation | Drawing Number: Attached |  |  |
| Transmission area drawing showing Connection Point relativity | Drawing Number: Attached |  |  |
| Proprietor responsible for Connection Point | Name: Phone: Email: |  |  |
| Physical address of Connection Point |  |  |  |
| Physical location of Connection Point |  |  |  |
| Feeder capacity | MVA or Amps |  |  |
| Transformer capacity | MVA |  |  |
| Energy pattern – new | Attach expected half hour energy profile for first year of operation |  |  |
| Energy pattern – existing | Provide any details on changes in load profile. i.e., transfer from X |  |  |
| Participant relationships in MSATS | Role ID | Participant ID | Participant Name |
|  | FRMP |  |  |
|  | LNSP |  |  |
|  | NSP2 |  |  |
|  | LR |  |  |
|  | MDP / MPC |  |  |
|  | MPB |  |  |
|  | MC |  |  |
|  | ROLR |  |  |

## Meter Installation Checklist

Note: This section is applicable to Market Network Service Provider Applicants only.

| Revenue Metering Installation Details |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Meter details: |  |  |  |  |  |  |
| Metering installation type (S7.2.3) |  |  |  |  |  |  |
| Meter Serial No | Meter Make & Model | Pattern Approval Cert No | Meter class accuracy | Is meter bi-directional? | Current rating | Meter test results |
|  |  |  |  | Yes No | A | Attached |
|  |  |  |  | Yes No | A | Attached |

| Current Transformer (CT) Details |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| CT Serial No. | CT Ratios Available | CT Connected Ratio | CT Burden (Rated) | CT Class | CT Test Results |
|  |  |  | VA |  | Attached |
|  |  |  | VA |  | Attached |
|  |  |  | VA |  | Attached |

| Voltage Transformer (VT) Details |  |  |  |  |
| --- | --- | --- | --- | --- |
| VT Arrangement | 3 x 1Ph VT or 3Ph VT |  |  |  |
| VT Serial No. | VT Ratio | VT Burden (Rated) | VT Class | VT Test Results |
|  | KV/ V | VA |  | Attached |
|  | KV/ V | VA |  | Attached |
|  | KV/ V | VA |  | Attached |

| Check Metering Installation Details |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Check metering installation Partial check metering |  |  |  |  |  |  |
| Meter details: |  |  |  |  |  |  |
| Meter Serial No | Meter Make & Model | Pattern Approval Cert No | Meter class accuracy | Is meter bi-directional? | Current rating | Meter test results |
|  |  |  |  | Yes No | A | Attached |

| Current Transformer (CT) Details |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| CT Serial No. | CT Ratios Available | CT Connected Ratio | CT Burden (Rated) | CT Class | CT Test Results |
|  |  |  | VA |  | Attached |
|  |  |  | VA |  | Attached |
|  |  |  | VA |  | Attached |

| Voltage Transformer (VT) Details |  |  |  |  |
| --- | --- | --- | --- | --- |
| VT Arrangement | 3 x 1Ph VT or 3Ph VT |  |  |  |
| VT Serial No. | VT Ratio | VT Burden (Rated) | VT Class | VT Test Results |
|  | KV/ V | VA |  | Attached |
|  | KV/ V | VA |  | Attached |
|  | KV/ V | VA |  | Attached |

Please clearly mark all attachments as "Attachment to Section I" and number each page consecutively.

## Metering information for Network Service Providers without network assets

This section is required information for registration as Network Service Provider without established network assets only.

Please provide the following evidence for AEMO to assess:

- A timeline of, and list of the proposed and/or actual sites the Applicant will be responsible for,

- Single Line Diagram(s) and/or network diagram(s) illustrating any connection points, if available at the time of registration, and

- Evidence that key personnel are competent in the Market Settlement and Transfer Systems (MSATS).

Metering Installation details and updated single line diagrams will need to be provided to AEMO prior to first energisation of the network.

Note: For further information please reference - AEMO | Metering procedures, guidelines and processes

# IT Systems

This section is for the configuration and connectivity to AEMO IT systems.  Please provide the following information.

## MarketNet connection

For details regarding AEMO’s private data network connection (MarketNet), options and entitlements, see the Guide to Information Systems on AEMO’s website.

Does the Applicant require a new MarketNet connection?	 Yes	 No

If ‘Yes’, please fill in the following information:

| Connection types: | Primary: |  |  | Backup: |  |
| --- | --- | --- | --- | --- | --- |
| IT Technical Network Contact: |  |  |  |  |  |
| Contact number: |  |  | Email: |  |  |

## IT Notifications email address

Please note it is important to receive AEMO notifications regarding IT changes or outages that may impact the Applicants business.

Please have the Applicant IT staff set up and maintain a group email address with an appropriate distribution list of members for this to occur (individual email addresses are not accepted).

| IT Notifications email address: | <e.g. AEMOIT@the Applicantrdomain.com.au> |
| --- | --- |

## e-Hub access

Note: Distribution Network Service Providers and Transmission Network Service Providers must complete this section.

For details regarding access to the e-Hub (using APIs), obtaining new certificates and submitting a Certificate Signing Request (CSR), please see the Manage TLS Certificates guide.

Access to e-Hub is recommended for Distribution Network Service Providers and Transmission Network Service Providers.

Does the Applicant require e-Hub access? 	 Yes	 No

Note that as per the NSW EII Act, a Network Operator holds the same meaning as a Network Service Provider and must register with AEMO using the same registration process.

Enter the Applicant preferred Participant ID. If the proposed Participant ID is already taken or if the field is left blank, one will be provided by AEMO.