service level procedure:

Metering Data Provider Services

PREPARED BY:	AEMO

VERSION:	1.5

DATE:	1 December 2017

Draft

Version Release History

| Version | Date | Author | peer review | approved | Comments |
| --- | --- | --- | --- | --- | --- |
| .01 | Aug 2012 | Jackie Krizmanic | Lee Brown | Lee Brown | Initial draft |
| .02 | Oct 2012 | Jackie Krizmanic | Lee Brown | Lee Brown | Draft following revisions by AEMO |
| .03 | Nov 2012 | Lee Brown | MSWG | Lee Brown | Further revisions by AEMO following initial review by the MSWG |
| .04 | Dec 2012 | Lee Brown | MSWG | Lee Brown | Further revisions by the MSWG |
| .05 | Jan 2013 | Lee Brown | Jackie Krizmanic | Lee Brown | Final review of draft including format change in preparation for consultation |
| .06 | Apr 2013 | Lee Brown | Jackie Krizmanic | Lee Brown | Updated after comments from 1st stage consultation and MSWG. |
| 1.0 | June 2013 | Lee Brown | Jackie Krizmanic | Lee Brown | Updated with comments from 2nd stage consultation and MSWG |
| 1.1 | May 2014 | Lee Brown | Jackie Krizmanic, David Ripper | Lee Brown | Expanded to include the meter churn data requirements – draft |
| 1.2 | Sept 2014 | Lee Brown | MSWG | Lee Brown | Including meter churn, comms network approval and other minor amendments |
| 1.3 | Nov 2014 | Lee Brown | MSWG | AEMO | Updated with feedback from participants and MSWG after first stage consultation. |
| 1.4 | Dec 2014 | Lee Brown | MSWG | AEMO | Updated with feedback from participants and MSWG after second stage consultation |
| 1.5 | July 2015 | AEMO |  |  | Updated in accordance with competition in metering DRAFT rule change. |

Disclaimer

    - Purpose – This document has been prepared by the Australian Energy Market Operator Limited (AEMO) for the purpose of complying with clause 7.14.1A of the National Electricity Rules (Rules).

    - Supplementary Information – This document might also contain information the publication of which is not required by the Rules.  Such information is included for information purposes only, does not constitute legal or business advice, and should not be relied on as a substitute for obtaining detailed advice about the National Electricity Law, the Rules, or any other relevant laws, codes, rules, procedures or policies or any aspect of the National Electricity Market, or the electricity industry.  While AEMO has used due care and skill in the production of this document, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness, currency or suitability for particular purposes of the information in this document.

    - Limitation of Liability – To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this document (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this document or for any loss or damage suffered by persons who use or rely on this information (including by reason of negligence, negligent misstatement or otherwise).  If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.

© 2014 - All rights reserved.

Contents

1	Introduction	7

2	Purpose	7

3	Legal and Regulatory Framework	8

4	References	8

5	Obligations	10

5.1	Metering data services	10

5.2	Use of sub-contractors	11

5.3	Specific obligations for Metering Data Provider - Category D	11

5.4	Specific obligations for Metering Data Provider - Category C	12

6	Service requirements for Metering Data Providers – Category D	13

6.1	System requirements	13

6.2	Collection process requirements	14

6.3	Specific collection process requirements for metering installations type 1, 2, 3 and 4	14

6.4	Specific collection process requirements for metering installations type 4A, 5 and 6	15

AEMO comment: Removed as the VIC AMI derogation ends on the effective date of the new rules.	15

6.5	Metering data processing requirements	15

6.6	Specific Metering Data processing requirements for metering installation types 1, 2, 3 and 4	16

6.7	Specific Metering Data processing requirements for Special Sites	17

6.8	Specific Metering Data processing requirements for metering installation type 7	17

6.9	Specific Metering Data estimation requirements for metering installation types 4A, 5, 6 and 7	18

6.10	Delivery performance requirements for metering data	18

6.11	Delivery of Metering Data for prudential processing	20

6.12	Interface requirements	21

7	Service requirements for Metering Data Providers - Category C	23

7.1	System requirements	23

7.2	Metering Data Collection and transfer requirements	23

8	Meter churn data management	24

8.1	Meter churn scenarios	24

9	System architecture & administration	31

9.1	Data archival and recovery	31

9.2	Data backup	31

9.3	Disaster recovery	31

9.4	System administration and data management	32

9.5	Non-public telecommunications networks	32

10	Quality control	34

10.1	Scheduled Metering Data audits	34

10.2	Other audits	34

10.3	Corrective action	35

10.4	Non-compliance and de-registration	35

10.5	Review of accreditation	35

11	Administration	37

11.1	Bilateral agreements	37

11.2	Quality systems	37

11.3	Disputes	37

GLOSSARY

    - In this Service Level Procedure, a word or phrase in this style has the same meaning as given to that term in the Rules or, if they are not specified in the Rules, they have the meaning set out opposite those words, phrases, or acronyms in the table below.

    - A reference in this Service Level Procedure to a provision in the Rules is taken to be a reference to that provision as renumbered from time to time.

    - In this Service Level Procedure, words in the singular include the plural and words in the plural include the singular.

    - In this Service Level Procedure, diagrams are provided as an overview.  If there are ambiguities between a diagram and the text, the text shall take precedence.

    - Unless the context otherwise requires, this document will be interpreted in accordance with Schedule 2 of the National Electricity Law.

| Term | meaning |
| --- | --- |
| CATS Standing Data | CATS Standing Data means those data items that are held in the following database tables: - CATS_NMI_Data_Stream - CATS_NMI_Data - CATS_Meter_Register - CATS_NMI_Participants_Relationships - CATS_Register_Identifier NMI Standing Data is a sub-set of CATS Standing Data |
| collect, collection, collected | A process undertaken by the Metering Data Provider to obtain metering data from a meter or metering installation. |
| data stream | data stream means a stream of energy data or metering data associated with a metering point, as represented by a NMI. For example, a NMI will have multiple data streams where one or more meters or one or more channels or registers comprise a single meter. Each data stream is identified by a suffix, which is associated with the NMI to which it belongs. |
| estimate, estimation, estimated | A process undertaken by a Metering Data Provider, for the forward estimation of metering data where the scheduled meter reading cycle does not support the delivery time frames of metering data to AEMO and other Registered Participants. |
| Meter Churn | Meter Churn occurs where one or more meters are changed or altered at a metering installation |
| MDFF | Meter data file format, the standard format for delivery of metering data to Service Providers and registered participants |
| MDM data file | Meter data management data file, the standard format for delivery of metering data to AEMO |
| Service Providers | Metering Data Providers (MDPs), Metering Providers (MPBs) and Local Network Service Providers (LNSPs) |
| substitute, substitution, substituted | A process undertaken by a Metering Data Provider for the substitution of missing (null) or erroneous metering data or where the metering data has failed the validation process. |
| validate, validation, validated | A process undertaken by the Metering Data Provider to test the veracity and integrity of metering data prior to transfer to AEMO and other Registered Participants. |

# Introduction

    - This Service Level Procedure is made in accordance with clause 7.14.1A of the Rules and details the requirements that the Metering Data Provider must comply with for the provision of metering data services for all metering installation types in accordance with the Rules.

    - In accordance with clauses 7.1.3, 7.1.4 and 7.14.1A of the Rules, AEMO is responsible for preparing, revising and publishing this Service Level Procedure in accordance with Rules consultation procedure.

    - Where a proposed amendment to this Service Level Procedure is of a minor or administrative nature, AEMO is not required to undertake consultation in accordance with the Rules consultation procedures but must comply with the requirements of clause 7.1.4 (e) of the Rules.

    - If there is any inconsistency between this Procedure and the Rules the Rules will prevail to the extent of that inconsistency.

# Purpose

- The purpose of this Service Level Procedure is to detail the obligations, technical requirements, measurement processes and performance requirements that are to be performed, administered and maintained by the Metering Data Provider.

- This Service Level Procedure details the:

#### obligations of the Metering Data Provider in the provision of metering data services;

#### obligations of the Metering Data Provider to establish and maintain a metering data services database;

#### metering data collection, processing, storage and delivery requirements for all metering installation types;

#### obligations assigned to the Metering Data Provider within any procedures authorised under the Rules; and

#### obligations assigned to the Metering Data Provider in support of the metering coordinator.

# Legal and Regulatory Framework

- In accordance with clause 7.4.1A of the Rules, the provision of metering data services must only be carried out by a Metering Data Provider.

- In accordance with clause 7.4.2A (e) of the Rules, a Metering Data Provider must comply with the provisions of the Rules and procedures authorised under the Rules.

- In accordance with clause 7.4.2A (a) (2) of the Rules, Metering Data Providers providing metering data services in the National Electricity Market must be accredited by and registered with AEMO.  The accreditation requirements are set out in the accreditation procedures and checklists for each category of registration which include requirements as set out in:

#### Chapter 7 of the Rules; and

#### authorised procedures under the Rules.

# References

#### In this Service Level Procedure, a reference to:

- ‘metrology procedure: Part A’ is a reference to the ‘Metrology Procedure: Part A’ National Electricity Market.

- ‘metrology procedure: Part B’ is a reference to the “Metrology Procedure: Part B. Metering Data Validation, Substitution and Estimation Procedure for Metering Types 1-7”.

- ‘MSATS Procedures’ is a reference to any one or all of the following documents in accordance with the context of the provision:

#### ‘CATS Procedure’ is a reference to the CATS Procedures Principles and Obligations;

#### ‘WIGS Procedure’ is a reference to the Procedures for the Management of Wholesale, Interconnector, Generator and Sample (WIGS) NMIs;

#### ‘Standing Data’ is a reference to the static data held within MSATS as detailed in ‘Standing Data for MSATS’; and

#### ‘MDM Procedures’ is a reference to MSATS Procedures: MDM Procedures.

- ‘B2B Procedures’ is a reference to any one or all of the following documents in accordance with the context of the provision:

#### ‘Service Order Process’; and

#### ‘Meter Data Process’.

- ‘NMI Procedure’ is a reference to the “National Metering Identifier Procedure”.

- ‘Data Delivery Calendar’ is a reference to the applicable version of the ‘AEMO Data Delivery Calendar’.

- ‘MDFF’ is a reference to;

#### the ‘Meter Data File Format Specification’ for provision of metering data to Local Retailers, Market Customers, Network Service Providers and other Metering Data Providers.  This document is currently the “Meter Data File Format Specification NEM12 & NEM13” and is,

#### an alternative version of the Meter Data File Format Specification which may be used for the provision of metering data to a Generator participant.  This is currently the NEM01 format as specified in the “Meter Data File Format – NEM01 specification”.

- ‘‘MDM data file’ is a reference to the aseXML metering data file to be used for sending metering data to AEMO’s MSATS system. The ‘MDM File Format and Load Process’ Procedure. details the process and file format to be complied with by Metering Data Providers.

- ‘Market Management Systems Access Procedure’ is a reference to AEMO’s Market Management Systems Access Procedure, Policy 02113.

- ‘Special Sites’ is a reference to the ‘Special and Technology Related sites’ supporting document and published ‘List of Special and Technology Related Sites’ within the NEM.

- ‘MSS Procedure’ is a reference to the ‘Minimum Services Specification’ procedure.

- ‘Service Level Procedure’ is a reference to this document.

# Obligations

## Metering data services

### The Metering Data Provider must:

- provide compliant metering data services in accordance with the Rules, procedures under the Rules and relevant jurisdictional codes and policies;

- establish, maintain and operate a metering data services database;

- ensure that the metering data services data base  including all distributed systems, personal computers and equipment used for collection is synchronised to Eastern Standard Time in accordance with the accuracy requirements of clause 7.12 (e) of the Rules;

- ensure that all metering installations are synchronised to Eastern Standard Time through the collection process in accordance with the accuracy requirements of clause 7.12 (f) of the Rules, for the relevant metering installation type;

- maintain the security and confidentiality of any metering installation passwords;

- ensure that metering data and relevant CATS Standing Data is kept confidential and secure in accordance with Rule obligations and only provided to persons entitled to have access in accordance with the Rules;

- undertake the collection, processing and delivery of metering data and significant meter alarms, through the processes for which the Metering Data Provider has been accredited and engaged;

- be accredited by AEMO to provide metering data services;

- comply with all directions from AEMO to fulfil any obligation under this Service Level Procedure and

- make all reasonable endeavours to co-operate in good faith with AEMO, all Registered Participants, accredited Metering Providers and accredited Metering Data Providers within the National Electricity Market.

### The Metering Data Provider must maintain compliance with:

- NMI Procedure;

- MSATS & B2B Procedures;

- Metering Data File Format;

- MDM File Format and Load Process Procedure; and

- Metrology Procedure Part A & B

### In regard to connection points that are part of a Retailer of Last Resort (RoLR) event, or where the participating jurisdiction has requested AEMO to undertake customer transfers, the Metering Data Provider must:

- assist AEMO and Registered Participants with the management of transfers;

- process and deliver metering data; and

- update the metering register and relevant CATS Standing Data information.

## Use of sub-contractors

### Where a Metering Data Provider engages a sub-contractor to perform any of the obligations specified within the Rules or this Service Level Procedure, the Metering Data Provider must ensure that auditable processes are in place to certify that all work performed by the sub-contractor is compliant with the Rules and this Service Level Procedure.

### The Metering Data Provider is responsible and liable for all acts and omissions of any engaged sub-contractor.

### In the event a Metering Data Provider elects to engage or change a subcontractor for the delivery of any part of the metering data services the Metering Data Provider must notify AEMO immediately.

### Subject to AEMO’s assessment of the notification:

- the Meter Data Provider may be required to undertake an accreditation review to approve the new systems or processes;

- where practicable the accreditation review will take place as part of the next scheduled Metering Data Provider audit; and

- the scope and timing of the accreditation review will be assessed on a case by case basis between AEMO and the Metering Data Provider.

## Specific obligations for Metering Data Provider - Category D

### The Metering Data Provider - Category D must:

- undertake validation, substitution and estimation of metering data in accordance with the metrology procedure: Part B;

- provide metering data services which relate to the collection, calculation, processing and delivery of metering data;

- manage the relevant CATS Standing Data for all connection points for the entire period for which they have responsibility in MSATS;

- manage the registration of connection point data streams in accordance with the timeframes specified in the MSATS Procedures;

- ensure registered details of the connection point are fully recorded in the Metering Data Provider’s metering data services database;

- ensure metering details and parameters within the metering data services database are correct such that the metering data is accurate;

- facilitate the timely commissioning and registration of the metering installation;

- ensure that there is no continued metering data being recorded for the connection point before deactivating the data stream(s) in MSATS or discontinuing the collection process from the metering installation; and

- establish and maintain a metering register in their metering data services database in support of AEMO‘s obligation under clause 7.5.1 of the Rules and in accordance with this Service Level Procedure.

### The Metering Data Provider must ensure that information in the metering register is:

- registered in cooperation with the Metering Coordinator, the Metering Provider and, where necessary, any other Metering Data Provider or Metering Provider associated with the transfer of a connection point;

- provided on request to respective persons entitled to have access to the data in accordance with clause 7.7(a) of the Rules;

- communicated to other respective Metering Data Providers having the right of access as a result of the transfer of a connection point; and

- populated with the applicable details listed in the clause S7.5 of the Rules with the exception of:

- S7.5.2(b) of the Rules sub clauses 5, 6 and 7; and

- S7.5.2 (c) of the Rules for metering installation types 5 (including AMI), 6 and 7.

### Where the metering installation includes the measurement of reactive energy, the Metering Data Provider must store this metering data with the active metering data in the metering data services database.

### The Metering Data Provider must ensure that where there is a change of Metering Data Provider role for a wholesale or generator connection point the Special Site list is referenced.  If the connection point TNI is included in the Special Site list, the Metering Data Provider must first seek AEMO approval, to provide metering data services for these sites.

## Specific obligations for Metering Data Provider - Category C

### The Metering Data Provider - Category C must:

- establish and administer a metering data collection services system;

- undertake validation of metering data relevant to the collection process in accordance with section 7.2 and 7.3 of the metrology procedure: Part B; and

- provide metering data services which relate to the collection and transfer of metering data and the management of relevant CATS Standing Data for all connection points for the entire period for which they have responsibility in MSATS.

# Service requirements for Metering Data Providers – Category D

## System requirements

### The Metering Data Provider must maintain and operate a metering data services database to facilitate the:

- collection of metering data;

- processing, calculation, validation, substitution and estimation of metering data;

- delivery of metering data and metering register data to AEMO, Registered Participants and other Service Providers;

- assignment and version control of participant roles for connection points and the ongoing synchronisation with MSATS;

- commissioning of each metering installation into the Metering Data Provider’s metering data services database;

- loading of metering data provided in MDFF files relating to Meter Churn; and

- storage and archiving of metering data and validated metering data from the metering installation.

### The Metering Data Provider must maintain and operate a metering data services database that provides a full audit trail and version control capability.  This functionality must be applied to:

- metering data;

- relevant CATS Standing Data;

- assigned data quality flags;

- substitution and estimation types;

- significant metering data alarms;

- metering register information;

- the delivery of metering data to Registered Participants, AEMO and other Metering Data Providers; and

- the mapping of all metering data streams (including logical metering data streams).

### The Metering Data Provider must maintain, operate and monitor a system that supports the detection of system or process errors.  These exception reports must include but not be limited to:

- missed reads and missing intervals of metering data within the metering data services database;

- long term substitutions and estimations;

- metering data errors and data overlaps;

- validation, relevant CATS Standing Data or metering register errors;

- failed batch processing, database errors and hardware failures;

- the capture of file syntax errors, failed and rejected metering data deliveries;

- status management of collection interfaces;

- status management of B2B e-Hub and MSATS interfaces; and

- status management of metering installation malfunctions.

## Collection process requirements

### The Metering Data Provider must use reasonable endeavours to ensure actual metering data, including significant meter and metering data alarms, is collected for all connection points for which they have responsibility for metering data services in MSATS.

### The Metering Data Provider must operate a process which:

- records and logs faults and problems associated with the reading function of meters.  The process must record and log, but is not limited to, any:

- access problems;

- metering installation security problems;

- metering installation faults;

- read failures; and

- metering installation time synchronisations.

- supports the Metering Coordinator, the Metering Provider, or both in the rectification of any metering installation malfunctions or problems associated with the reading function of meters; and

- provides notification of any metering installation malfunction, to the Metering Coordinator and the Metering Provider, in accordance with clause 7.3.7 of the Rules, so that repairs can be affected in a timely manner.

## Specific collection process requirements for metering installations type 1, 2, 3 and 4

### The Metering Data Provider must be capable of initiating a remote reading where metering data is missing, erroneous or has failed validation.

### Where applicable, the Metering Data Provider must ensure that services listed in the Minimum Services Specification are managed in accordance with the Minimum Services Specification procedure.

### The Metering Data Provider must operate and maintain a process which:

- initiates an alternate method to collect metering data where remote acquisition becomes unavailable; and

- provides a reading event log detailing successful read events for each metering installation, or alternatively an exception report of failed meter reads.

## Specific collection process requirements for metering installations type 4A, 5 and 6

### The Metering Data Provider must:

- develop and maintain a reading schedule in accordance with the metrology procedure: Part A;

- maintain read routes with particular attention to any specific access requirements and hazard information.;

- use reasonable endeavours to ensure that metering data is collected at a frequency which is at least once every three months;

- ensure that scheduled reading lists and programmed reading equipment is provisioned, updated and maintained;

- subject to clause 6.5 of this Service Level Procedure, use reasonable endeavours to ensure that the metering data is collected within two business days prior to or two business days subsequent to the scheduled reading date;

- ensure that all metering data collected and any fault reason codes associated with a reading failure are transferred to the metering data services database within one business day of the data being collected or attempted to be collected from the metering installation;

- ensure that special read requests are managed in accordance with the B2B Procedures for type 5 and 6 metering installations only.

## Metering data processing requirements

### The Metering Data Provider must have a process to:

- confirm and utilise the participant roles for connection points;

- support the receipt and actioning of Provide and Verify Meter Data Requests in accordance with the B2B Procedures;

- assign and store the date/time stamp of when the metering data was entered into the Metering Data Provider’s metering data services database;

- ensure that in accordance with metrology procedure: Part B and MDFF all metering data is stored in the metering data services database with the correct:

- Quality Flag;

- Substitution or Estimation Type Code (where applicable); and

- Substitution or Estimation Reason Code (if applicable).

- check the metering data services database for missing metering data and overlaps; and

- notify AEMO and the Registered Participants for the connection point whenever any substitutions or estimations are carried out. This notification is to be achieved by the allocation of the appropriate substitution or estimation codes to the metering data and delivery of that meter data within the MDM data file or MDFF file.

### Where the Metering Coordinator or the Metering Provider informs the Metering Data Provider of a situation that may cause metering data to be erroneous, the Metering Data Provider must identify and substitute any erroneous metering data.

### Where any Registered Participant for the connection point disputes metering data, the Metering Data Provider must investigate, and if necessary correct the metering data in accordance with the metrology procedure: Part B.

### The Metering Data Provider must operate in accordance with the requirements of section 8 of this Service Level Procedure regarding Meter Churn data management.

### Where the meter assigns alarms to the metering data, the Metering Data Provider’s system must process the alarm along with the metering data as part of the validation process in accordance with the metrology procedure: Part B.

### The Metering Data Provider must use reasonable endeavours to load metering data in an alternative format provided by the Metering Provider where there is a communications, reading or metering installation malfunction that prevents the normal collection of metering data from the metering installation.

### The Metering Data Provider must have a process to aggregate interval metering data for a connection point into a 30 minute interval net data stream prior to delivery to AEMO as per MSATS Procedure, MDM File Format and Load Process and National Metering Identifier Procedure.

## Specific Metering Data processing requirements for metering installation types 1, 2, 3 and 4

### The Metering Data Provider must have a process to be capable of undertaking simple cumulative or subtractive processes to manage complex metering configurations.  Typically the system must support:

- an A+B+C or A-B-C aggregation configuration;

- metering data validation capability for standard partial or check meter connection points which incorporate a simple comparison of single data stream of metering data to a single data stream of check metering data within an acceptable tolerance; and

- the calculation of the average of the two validated data sets for metering installations where the check metering installation duplicates the metering installation and accuracy level.  The average of the two validated data sets must be delivered to AEMO and Registered Participants.

## Specific Metering Data processing requirements for Special Sites

### Subject to the Metering Data Provider’s level of accreditation and system capability to manage interconnectors, transmission connection points, Generator connection points and cross boundary/border supply points between distribution or Local Retailer regions, the Metering Data Provider’s process must have the ability to:

- perform transformer and or line loss compensation algorithms, to compensate for losses between the metering point and the connection point;

- perform calculations of data streams for the requirements of each Special Site;

- perform nodal check metering data validation and substitution;

- undertake Supervisory Control and Data Acquisition (SCADA) data validation and substitution for Generator connection points;

- manage logical meters and nested logical metering data calculations;

- handle threshold test variances to equations such as the use of ‘If Then Else’ statements; and

- perform any combination of the above.

### The Metering Data Provider must ensure that any algorithm in support of a logical NMI is accepted by the Metering Coordinator, AEMO and financially responsible Market Participant before being used.

## Specific Metering Data processing requirements for metering installation type 7

### The Metering Data Provider must store inventory tables, load tables and on/off tables, as defined in metrology procedure: Part B, in the metering data services database.

### The Metering Data Provider must ensure:

- inventory tables are updated with any changes provided by the Local Network Service Provider or Metering Coordinator;

- on/off tables are correct and compliant with details specified in the metrology procedure Part B; and

- load tables are correct and in agreement with details in the National Electricity Market Load Tables for Unmetered Connection Points, as published by AEMO.

### The Metering Data Provider must validate that load tables, inventory tables and on/off tables are complete and correct.

### The Metering Data Provider must ensure the inventory table, load table and on/off table are versioned for metering data calculations.

### The Metering Data Provider must ensure that all calculated metering data is validated and processed into trading intervals.

## Specific Metering Data estimation requirements for metering installation types 4A, 5, 6 and 7

### The Metering Data Provider must have a process for the creation of estimated metering data.

### To meet meter data delivery requirements, this process must either:

- create individual blocks of estimated metering data on a daily basis; or

- create a single block of estimated metering data

- from the current reading event to a period beyond the newly published next scheduled read date for types 4A, 5 and 6; or

- from the current calculation event to a period beyond the next scheduled calculation event for type 7.

## Delivery performance requirements for metering data

### The Metering Data Provider must ensure only metering data which has passed validation is delivered to AEMO, Metering Data Providers and Registered Participants.

### While the Metering Coordinator is a Registered Participant, any delivery of metering data to the Metering Coordinator is subject to a commercial agreement between the Metering Coordinator and the Metering Data Provider. The Metering Data Provider is not mandated under this section of the procedure to deliver metering data to the Metering Coordinator.

### The Metering Data Provider must:

- deliver to AEMO, Metering Data Providers and Registered Participants all actual metering data which has passed validation within two business days of the actual metering data being received into the metering data services database;

- substitute, validate and deliver to AEMO, Metering Data Providers and Registered Participants the substituted metering data within two business days of the actual metering data being received into the metering data services database and failing validation; and

- substitute, validate and deliver to AEMO, Metering Data Providers and Registered Participants the substituted metering data within two business days of the receipt of any fault reason codes associated with a reading failure or failed interrogation event, into the metering data services database.

### The Metering Data Provider must validate and deliver to AEMO, Metering Data Providers and Registered Participants all substituted metering data within two business days of the metering data being substituted.

### For metering installations type 4A, 5, 6 and 7 the Metering Data Provider must validate and deliver to AEMO, Metering Data Providers and Registered Participants all estimated metering data within two business days of the metering data being estimated.

### The Metering Data Provider must provide metering data to the financially responsible Market Participant within two business days of receiving a completed notification of a change of financially responsible Market Participant, including estimated metering data, for a type 4A, 5, 6 or 7 metering installation.

### The Metering Data Provider must ensure that all failed validations are reviewed promptly such that:

- where the initial review of the failed validation identifies that the actual metering data is valid, deliver the actual metering data to AEMO, Metering Data Providers and Registered Participants within two business days of the metering data being received into the metering data services database; and

- where further information is required to validate the actual metering data, and the receipt of such information identifies that the actual metering data is valid, deliver the actual metering data to AEMO, Metering Data Providers and Registered Participants within two business days of the metering data passing validation.

### The Metering Data Provider must deliver metering data that has passed validation to AEMO for the periods specified in the Data Delivery Calendar, for all connection points that the Metering Data Provider is nominated in MSATS, for the specified weekly periods:

- to a quantity level of at least 98% complete metering data for all settlement weeks;

- to a quality level of at least 98% ‘actual’ or ‘final’, for periods specified as four monthly and six monthly revision settlement weeks only; and

- by 5pm on the day specified in the Data Delivery Calendar for the relevant settlement week.

### The Meter Data Provider must ensure that all metering data is delivered to AEMO, Metering Data Providers and registered participants for the full period of any retrospectively created data streams within two business days of that data stream becoming active in MSATS.

### Summary Data Delivery Table:

|  | Delivery to entitled registered participant (e.g. MC, MDP, LNSP, TNSP, LR, FRMP) | Delivery to AEMO |
| --- | --- | --- |
| Data Type | NMI data stream (e.g. E1, B1, 71, 44) Deliver validated metering data including any estimations and substitutions. | Net NMI data stream (e.g. N1, 71, 44) Deliver validated metering data including any estimations and substitutions. Interval metering data must be net aggregated to 30 minutes. |
| File Format | ‘MDFF’ Meter Data File Format (or Agreed Format). | ‘MDM data file’ AEMO aseXML data file format. |
| Delivery Point | To the Registered Participants via B2B e-Hub inbox (or Agreed Method) | To the Metering Data Provider’s MSATS inbox |

### The Metering Data Provider must notify AEMO and affected participants of any operational delays which impact on normal expected metering data delivery.

## Delivery of Metering Data for prudential processing

### AEMO must communicate to the Metering Data Provider the requirement for prudential metering data by 10am Eastern Standard Time the day before the data is required.

### The Metering Data Provider must deliver prudential metering data to AEMO for Type 1, 2, 3 and 4 metering installations for the days nominated by AEMO, as follows:

- 90% complete set of validated actual metering data for connection points which relate to wholesale market boundary and Market Generator connection points (these relate to connection points identified in MSATS as WHOLESAL, GENERATR and INTERCON);

- 80% complete set of validated actual metering data for all other connection points; and

- the Metering Data Provider must deliver metering data to AEMO by 8am Eastern Standard Time on the day(s) specified.

### The Metering Data Provider must deliver prudential metering data to AEMO for Type 4A, 5, 6 and 7 metering installations for the days nominated by AEMO, as follows:

- 80% complete data set of validated metering data for all connection points, consisting of actual, substituted or estimated metering data; and

- the Metering Data Provider must deliver metering data to AEMO by 8am Eastern Standard Time on the day(s) specified.

## Interface requirements

### The Metering Data Provider must comply with AEMO’s Market Management Systems Access Procedure.

### The Metering Data Provider must establish and maintain business interfaces to:

- the MSATS system for the management of connection point updates, notifications, objections, reports, relevant CATS Standing Data, data requests and delivery of metering data to the metering database;

- the B2B e-Hub for the  interface with Registered Participants, other Service Providers and for the delivery of metering data to Registered Participants and other Metering Data Providers; and

- other technologies such as email, facsimile, phone and internet for the general management of information and alternative delivery of metering data to Registered Participants.

### The Metering Data Provider must maintain a NEMNet connection for the purposes of communication and file transfer with MSATS.

### The Metering Data Provider will be provided with an inbox and outbox directory on the MSATS file server, which must be used for the transfer of files to and from AEMO via NEMNet and manage the appropriate directories in accordance with the MSATS Procedures.

### The Metering Data Provider must interface with MSATS either via the browser or a batch interface, or both, using the market aseXML file format in accordance with the related documentation and schemas.

### The Metering Data Provider must manage any batch file transfers to MSATS in accordance with MDM Procedures.

### The Metering Data Provider must maintain an ongoing active line of communication with the B2B e-Hub for the management and response to B2B e-Hub Requests and Notifications.

### The Metering Data Provider must ensure:

- all transmitted messages comply with the requirements of the aseXML message format; and

- all files transacted through the B2B e-Hub interface comply with the requirements of the aseXML message size requirements and B2B Technical Delivery Specifications.

### Voice communications with AEMO, Registered Participants, Metering Providers and other Metering Data Providers are to be undertaken between 9:00am and 5:00pm on business days except under exceptional circumstances.

### The Metering Data Provider must work with AEMO in the provision of metering data and CATS standing data files to AEMO and Registered Participants via alternate means in emergency situations where normal processes cannot be utilised.

### Figure 1 below outlines the key Metering Data Provider interfaces:

Interfaces for MDP’s

# Service requirements for Metering Data Providers - Category C

## System requirements

### The Metering Data Provider must maintain and operate a metering data collection services system to facilitate:

- the receipt of reading requests and associated information including read routes, registers, passwords, last read data, scheduled reading date, type of reading required and other information as agreed from time to time with a Metering Data Provider - Category D;

- the management of meter reading schedules;

- the collection of metering data from the metering installation inclusive of any metering data alarms or events as agreed with a Metering Data Provider - Category D;

- validation of metering data relevant to the collection process in accordance with section 7.2 and 7.3 of the metrology procedure: Part B;

- the transfer of metering data in a format agreed with the relevant Metering Data Provider - Category D;

- the storage and archiving of collected metering data;

- system monitoring and exception reporting; and

- the prompt notification of a metering installation malfunction to the Metering Data Provider - Category D so that repairs can be affected in a timely manner.

### The Metering Data Provider must ensure the metering data collection services system provides a full audit trail.

### The Metering Data Provider must ensure a process for the recording and logging of faults and problems associated with the reading function of meters is maintained. The process must log any:

- access problems;

- meter security problems;

- meter faults;

- read failures; and

- other information as agreed with Metering Data Provider - Category D.

## Metering Data Collection and transfer requirements

### The Metering Data Provider must:

- use reasonable endeavours to ensure actual metering data is collected for all connection points for which they are responsible;

- use reasonable endeavours to ensure the metering data is collected from metering installations type 4A, 5 and 6  within two business days prior to and two business days subsequent to the scheduled reading date;

- ensure that all metering data collected and any fault reason codes associated with a reading failure or access problems are transferred to the metering data services database within one business day of the metering data being collected or attempted to be collected from the metering installation;

- inform the Metering Data Provider -  Category D immediately upon identification of an inability to collect or transfer metering data in accordance with the timeframes specified above;

- ensure that all access issues are communicated to the Metering Data Provider - Category D;

- ensure that the meter time of all type 4A and 5 metering installations is synchronised to Eastern Standard Time through the collection process within the accuracy requirements of the Rules;

- ensure for type 4A and 5 metering installations, the Metering Data Provider – Category D is informed, through an agreed method, where the meter reading process failed to synchronise the metering installation time with Eastern Standard Time;

- ensure for time of use type 6 metering installations, the Meter Data Provider – Category D is informed, through an agreed method, where the meter time is not synchronised to Eastern Standard Time; and

- ensure that special read requests are managed in accordance with the B2B Procedures.

### Where the meter assigns alarms and/or events to the data channel and/or the metering data concerned, the Metering Data Provider system must process and provide the alarm along with the metering data to support the metering data validation process in accordance with the metrology procedure: Part B and as agreed with Metering Data Provider - Category D.

# Meter churn data management

## Meter churn scenarios

### Meter Churn can result in a change to the configuration of metering data recorded by a metering installation.  This change in metering data may result in an alteration to the MDFF or MDM metering data file.  A change of Metering Service Provider(s) may instigate Meter Churn.

### The Metering Data Provider must comply with the MDFF requirements when constructing the MDFF associated with Meter Churn events for all scenarios.

### Sections 8.1.4, 8.1.5, 8.1.6 and 8.1.7 detail the requirements that the Metering Data Provider must comply with for the management of metering data and the construction of the MDM data file associated with Meter Churn events when a metering installation is changed from:

- a type 6 metering installation to a new type 6 metering installation (Scenario 1);

- a type 6 metering installation to a type 1, 2, 3, 4, 4A, or 5 metering installation (Scenario 2);

- a type 1, 2, 3, 4, 4A, or 5 metering installation to a type 6 metering installation (Scenario 3); or

- a type 1, 2, 3, 4, 4A, or 5 metering installation to a new type 1, 2, 3, 4, 4A, or 5 metering installation (Scenario 4).

### For Meter Churn from a type 6 metering installation to a new type 6 metering installation (scenario 1):

- The Metering Data Provider must have a process to ensure that:

- the final accumulation reading(s) from the removed type 6 metering installation is applied at the end of the day prior to the Meter Churn;

- the start reading(s) for a new type 6 metering installation is applied at the start of the day of the Meter Churn;

- estimated metering data is provided for any data streams made active as a result of the Meter Churn; and

- Redundant data streams are made inactive in MSATS as a result of Meter Churn.

- Figure 2 below provides an overview of this scenario:

Figure 2

### For Meter Churn from a type 6 metering installation to new type 1, 2, 3, 4, 4A, or 5 metering installation (scenario 2):

- The Metering Data Provider must have a process to ensure that:

- the final accumulation reading(s) from the removed type 6 metering installation is applied at the end of the day prior to the Meter Churn; and

- the meter data for the new type 1, 2, 3, 4, 4A, or 5 metering installation commences at the start of the day on the day of the Meter Churn; and

- estimated metering data is provided for any data streams made active as a result of the Meter Churn, for a new type 4A, or 5 metering installation;

- The Metering Data Provider related to the new metering installation must have a process to ensure that the metering data for the period of the Meter Churn day between the start of the day and the commissioning of the new metering installation is provided as zeroes with a quality flag of F.

- The Metering Data Provider must make the data stream inactive in MSATS for the removed meter with an effective start date of the Meter Churn day.

- Figure 3 below provides an overview of this scenario:

Figure 3

### For Meter Churn from a type 1, 2, 3, 4, 4A, or 5 metering installation to new type 6 metering installation (scenario 3):

- For jurisdictions where reversion from a type 1, 2, 3, 4, 4A, or 5 metering installation to a type 6 metering installation is permitted, the Metering Data Provider must have a process to ensure that:

- the final reading(s) from the removed type 1, 2, 3, 4, 4A, or 5 metering installation ceases at the end of the day of the Meter Churn;

- the metering data for the period of the Meter Churn day between commissioning of the new metering installation and the end of the day of the Meter Churn is provided as  zeroes with a quality flag of F; and

- the start reading(s) for the new type 6 metering installation is applied at the start of the day following the day of the Meter Churn.

- the data stream for the removed meter is made inactive in MSATS with an effective start date of the day following the Meter Churn day.

- Figure 4 below provides an overview of this scenario:

Figure 4

### For Meter Churn from a type 1, 2, 3, 4, 4A, or 5 metering installation to new type 1, 2, 3, 4, 4A, or 5 metering installation (scenario 4):

- The Metering Data Provider must have a process to ensure that:

- the final reading(s) from the removed type 1, 2, 3, 4, 4A, or 5 metering installation is collected up to the removal of the old metering installation on the day  of the Meter Churn;

- the metering data for the new type 1, 2, 3, 4, 4A, or 5 metering installation commences at the start of the day on the day of the Meter Churn;

- the Metering Data Provider, related to the new metering installation, must obtain metering data for the period of the Meter Churn day between the start of the Meter Churn day and the removal of the old metering installation from the Metering Data Provider related to the old metering installation.

- the Metering Data Provider related to the new metering installation must combine the metering data from the old metering installation and the new metering installation for the day of Meter Churn. The Metering Data Provider related to the new metering installation must deliver metering data for the whole day of Meter Churn.

- where Meter Churn results in a change to the recording of metering data from 15 minute to 30 minute intervals, the 15 minute intervals of metering data from the start of the Meter Churn day until the commissioning of the new metering installation are to be aggregated to form 30 minute interval metering data;

- where Meter Churn results in a change to the recording of metering data from 30 minute to 15 minute intervals, the 15 minute intervals of metering data from the commissioning of the new metering installation to the end of the Meter Churn day are to be aggregated to form 30 minute interval metering data;

- estimated metering data is provided for any data streams made active as a result of the Meter Churn, for a new type 4A, or 5 metering installation;

- where Meter Churn results in a data stream(s) being made active, the Metering Data Provider related to the new metering installation must provide metering data from the start of the day to the commissioning of the new metering installation by providing zeroes with a quality flag of F; and

- where Meter Churn results in a data stream(s) being made inactive, the Metering Data Provider related to the new metering installation must provide metering data from the commissioning of the new metering installation to the end of the day by providing zeroes with a quality flag of F.

- the Metering Data Provider, related to the new metering installation, must create final substituted metering data for the period between the existing metering installation being removed and the commissioning of the new metering installation.

- Where the Metering Data Provider is changing as a result of the Meter Churn, the Metering Data Provider must have a process to ensure that:

- for the removal of type 1, 2, 3, or 4 metering equipment, the old Metering Data Provider must provide the new Metering Data Provider with the final metering data from the removed metering equipment in accordance with section 6 of this Procedure;

- for the removal of type 4A, or 5 metering equipment, the old Metering Data Provider must provide the new Metering Data Provider with the final metering data from the removed metering equipment within 25 business days of receiving the meter change notification from the Metering Provider;

- where metering data is not available for the whole day of Meter Churn, the new Metering Data Provider must substitute the metering data in accordance with the metrology procedure: Part B, for the day of Meter Churn until actual metering data becomes available.  This ensures continuity of metering data for the day of Meter Churn;

- the Metering Data Provider role change in MSATS is effective on the day of Meter Churn.

- Where the Metering Data Provider is changing as a result of the Meter Churn:

  - the old Metering Data Provider must provide substituted metering data in accordance with the metrology procedure: Part B with a quality flag of ‘S’ and a reason code of 37 (meter under churn) in the MDFF until the new Metering Data Provider becomes the Metering Data Provider in MSATS; and

  - the new Metering Data Provider, when it becomes the Metering Data Provider in MSATS, must provide actual metering data for the period of substitution in (c)(i) above.

- Figure 5 below provides an overview of this scenario:

Figure 5

# System architecture & administration

## Data archival and recovery

### The Metering Data Provider must ensure that their metering register information and metering data is accessible, online and archived in accordance with clause 7.11.3 of the Rules.

### The Metering Data Provider must have retrieval mechanisms that allow the archived metering data to be recovered, re-evaluated and delivered in agreed timeframes to AEMO and Registered Participants.

## Data backup

### All metering data and metering register information must be backed-up at a minimum on a daily basis and held in a secure environment.

## Disaster recovery

### The Metering Data Provider must ensure that a Disaster Recovery Plan is established and in place to ensure that in the event of a system failure, the system can be returned to normal operational service within two business days.

### The Metering Data Provider must ensure that the Disaster Recovery Plan is:

- up to date with all documentation showing revisions; and

- witnessed and dated at least annually by the Metering Data Provider as being current for the systems and processes in place.

### Where the Metering Data Provider adopts a Disaster Recovery Plan that has a complete ‘fail-over’ system approach, the Disaster Recovery Plan must be subjected to a test annually that facilitates a full ‘fail-over’ to the recovery system.

### Where the Metering Data Provider adopts a Disaster Recovery Plan that has a segmented system approach, the Disaster Recovery Plan must:

- detail the interfaces and relationships between system segments;

- be established for each individual system segment;

- be tested annually with evidence retained to show disaster recovery for each individual system segment; and

- have, for each individual system segment,  a procedure that clearly details the process to establish a return to full operation.

### Expected evidence to support Disaster Recovery Plan testing should include, but not be limited to:

- a Test Plan of the fail-over;

- results of the fail-over including timing;

- system logs indicating fail-over and recovery; and

- logs or notations evidencing resumption of Metering Data Provider operations.

### In the event a system failure does occur, the Metering Data Provider must ensure that:

- the Metering Data Provider’s metering data services database is restored to operational service within two business days; and

- all processing and delivery backlogs of metering data to AEMO and Registered Participants is completed within the same two business days in 8.3.6(a) above.

### The Metering Data Provider must at its earliest opportunity notify AEMO of any failure where the Metering Data Provider has a requirement to implement its established Disaster Recovery Plan.

## System administration and data management

### The metering data services database must be operated and administered to facilitate:

- controlled access to systems and data using unique identification and passwords for each user;

- the restriction of access to the underlying database tables to nominated System Administrators;

- the restriction of Registered Participant access to metering data and relevant CATS Standing Data provided via reports, based on the relationships defined in the metering register and in accordance with clause 7.7 of the Rules; and

- a minimum of 95% system availability (i.e. hardware and systems downtime do not exceed a maximum of 438 hours per annum).

### The Metering Data Provider must maintain full audit trails and version control of metering register information, metering data and relevant CATS Standing Data for a minimum of seven years so that any data output produced by the system can be re-produced from source data.

## Non-public telecommunications networks

### The use of a non-public telecommunications network for the collection of metering data by a Metering Data Provider is subject to approval by AEMO.

### The Metering Data Provider must provide, to the reasonable satisfaction of AEMO, information demonstrating that the use of the non-public telecommunications network enables the Metering Data Provider to meet the requirements of the Rules, metrology procedure: Part A , metrology procedure: Part B and this Service level procedure, which must include, but not be limited to:

- obtaining and maintaining compliance with the relevant recognised technical standards and licensing authority requirements;

- obtaining and maintaining appropriate software licences to operate the non-public telecommunications network;

- the implementation and nature of security controls for the ongoing operation and management of the  non-public telecommunications network;

- available bandwidth that supports the collection and management of metering data;

- disaster recovery provisions related to:

- non-public telecommunications network redundancy; and

- time synchronisation of metering installations operated through the non-public telecommunications network.

- processes for the commissioning of metering installations and provision for commissioning failure management;

- installation and maintenance of the non-public telecommunications network, including:

- compliance with relevant safety standards and work practices;

- compliance with telecommunications technical standards; and

- training and skill requirements of installation and maintenance personnel.

# Quality control

## Scheduled Metering Data audits

### The Metering Data Provider must undertake all services in a manner that is auditable, and must support scheduled reviews of their metering data service database, processes, procedures and systems.

### AEMO will undertake periodic certification reviews, to a negative assurance level of the Metering Data Provider’s metering data service database, processes, procedures and systems to assess the Metering Data Provider’s compliance with the Rules, Procedures under the Rules and this Service Level Procedure.

### All scheduled reviews will be through a centralised review process established by AEMO and will be undertaken at the Metering Data Provider’s own costs.

### Where a review is conducted under this Service Level Procedure, the Metering Data Provider must, at its own cost, provide all reasonable assistance including making databases, equipment and premises available for inspection, making personnel available for questioning, and providing copies of any data or information as requested.

### Scheduled reviews of the Metering Data Provider’s system will be as follows:

- the first audit to be nominally within six months after accreditation;

- subsequent audits will be nominally six monthly; or

- at AEMO’s discretion, at twelve month intervals based on previous satisfactory audit reviews of the Metering Data Provider.

### AEMO must provide the Metering Data Provider a minimum of:

- 30 business days’ notification prior to a scheduled review; and

- 15 business days’ notification for the provision of any specific data requests as part of the audit.

## Other audits

### Audits may be undertaken at any time by AEMO in accordance with Rules requirements and may be carried out following a request from a Registered Participant.

### Where an audit of a metering installation is conducted by AEMO under clause 7.6.3 (d) of the Rules, and metering data must be obtained from the Metering Data Provider in support of this audit, the Metering Data Provider must provide the metering data within two business days of AEMO’s request.

### The Metering Data Provider must assist AEMO with reasonable requests for the provisioning of metering data and relevant CATS Standing Data information relating to connection points that are part of the market audit process of AEMO, Metering Coordinators, Metering Providers and Metering Data Providers.

## Corrective action

### The Metering Data Provider must take corrective action on any reported instances of non-compliance identified by AEMO or through the Metering Data Provider audit process.

### Where the Metering Data Provider becomes aware that incorrect metering data has been delivered to AEMO and Registered Participants, the Metering Data Provider must provide corrected metering data to all affected parties within one business day as required by clause 7.11.3 (e) of the Rules.

### AEMO may request corrective action where errors or omissions are found within AEMO’s settlements process and such   requests are to be actioned as a priority by the Metering Data Provider.

### Where the Metering Data Provider cannot deliver the corrected metering data in the timeframe specified above, the Metering Data Provider must advise AEMO and agree on an alternate delivery time.

## Non-compliance and de-registration

### The ‘Service Provider Compliance Assessment and Deregistration Procedure’ (established under clause 7.4.3 (a) of the Rules) shall be used by AEMO in any assessment of a non-conformance or breach by a Metering Data Provider to remain compliant with the Rules, any procedure authorised under the Rules or this Service Level Procedure.

### Subject to the assessed breach level as defined within the ‘Service Provider Compliance Assessment and Deregistration Procedure’, actions that may be taken by AEMO in the event that the Metering Data Provider has failed to take corrective action, includes:

- loss of accreditation of the Metering Data Provider;

- deregistration from categories of accreditation;

- suspension from operation in the National Electricity Market;

- other applied limitation or level of restriction; or

- any combination of the above.

## Review of accreditation

### Circumstances where AEMO may require a Metering Data Provider to review its accreditation and subsequently apply for re-accreditation include:

- where a Metering Data Provider has been de-registered and seeks re-registration;

- where a Metering Data Provider has been suspended from providing services under certain categories and seeks to have the suspension lifted;

- subsequent to changes to Rules requirements, Procedures under the Rules, or service level procedures.  This is likely to apply in instances where Rules changes have been made or new versions of the Metrology Procedure have been issued which require significant functional system, process or procedural changes to be made by Metering Data Providers;

- significant changes or upgrades to a Metering Data Provider’s existing systems, telecommunications network or a system platform change to any part of the metering data service database.  The Metering Data Provider must apply and be re-accredited prior to implementing the changes into their production environment and accepting or transmitting any market transactions, in accordance with the Metering Service Provider Accreditation Procedure;

- organisational mergers and acquisitions; and

- under circumstances relating to clause 5.2 of this procedure

# Administration

## Bilateral agreements

### A Registered Participant may request the Metering Data Provider to:

- provide metering data in an alternate format; and/or

- deliver metering data by an alternate method; and/or

- deliver metering data in an alternate time frame; and/or

- provide any other metering data services.

### Pursuant to clause 11.1.1 of this procedure, there is no mandated requirement for a Metering Data Provider to implement system changes and processes to facilitate bilateral agreements.

### Any acceptance by the Metering Data Provider to deliver metering data to a Registered Participant in accordance with clause 11.1.1 of this procedure must not impact on metering data delivery to AEMO or any other Registered Participant for the connection point(s) concerned.

### Any bilateral agreement established between the Registered Participant and the Metering Data Provider must be supported in writing for Service Level Procedure audit compliance purposes.

## Quality systems

### The Metering Data Provider must operate and retain a quality system that meets clause S7.6.3 of the Rules to the satisfaction of AEMO, which is at least equal to a quality accreditation to the ISO9001 or ISO9002 standards.

## Disputes

### If a dispute arises between the Metering Data Provider and AEMO, a Registered Participant, a Metering Provider or any other Metering Data Provider, in relation to the provision of metering data services or this Service Level Procedure, then the Dispute Resolution process as detailed clause 8.2 of the Rules shall apply.

Significant metering data alarms are those listed in metrology procedure: Part B.