## Please Read
Tab Name | Description | Column Header | Description
Please Read | This tab contains the descriptions of the various test measurements and data points that must be captured to demonstrate the Raw DER Capability and provide/demonstrate evidence for Wholesale Service Qualification | Tab Name | Lists the Tab names of various worksheets in this workbook
|  | Description | Describes what is contained in the worksheet
|  | Column Header | List various column headers of the worksheet
|  | Description | Description of the column header
Tab Name | Description | Column Header | Description | Comments | Sample Value
Raw DER | This tab provides the template to populate and present the test results of various test across different Appliances Types or the portfolio. | Test Num. | This refers to a unique test identifier to be populated by the Aggregator |  | 1
|  | Service Type | This refers to the DER Service for which the test data is presented. See below list of services. |  | Buck
|  | Appliance Type | Name of the Appliance Type or the Appliance for which the test data is provided. See below for sample list of appliances |  | Air Conditioner
|  | Portfolio | Mark as 'Portfolio' if providing data at portfolio level. And at the Bottom of sheet fill in the portfolio details. | Aggregator must provide Portfolio Composition (i.e. make up of the portfolio). Portfolio composition at minimum must contain 'No of Appliance by Appliance Type' and 'Appliance Size' (in terms of Electrical Load or Generation) including any other information relevant to the tests.
|  | Target | This refers to the Target (nominated by Aggregator and agreed by AEMO) for the test which the Aggregator shall aim to meet. | Nominated by Aggregator and agreed with AEMO | 1kW
|  | Duration (in mins) | This refers to the duration (in minute) for which Aggregator must sustain the target amount. | For example if the Target amount is 3 kW for a period 5 min then the Aggregator is expected to sustain 3kW for 5 min period. | 5 mins
|  | Test Date | Test Date |  | 2021-10-17
|  | Test Interval Start time | Test Interval Start time |  | 12.05
|  | Test Interval End time | Test Interval End time |  | 12:10
|  | kWh - Interval prior to start of test period | This referred to the kWh reading or measurement immediately prior to start of the test period. This must be an instantaneous period ending measurement i.e. measured at the end of test interval/period | this represents kWh for 12.00 to 12.05 (i.e. for the internal prior to start of test interval/period) | 170
|  | kWh - During test Period | This refers to the kWh reading or measurement during test Period |  | 5
|  | Var - Interval prior to start of test period | This refers to the Var reading or measurement immediately prior to start of the test period. To be provided where applicable. |  | n.a.
|  | Var - During Test Period | This refers to the Var reading or measurement during test Period. To be provided where applicable |  | n.a.
|  | Response time (in Sec) | This refers to the time required to reach the target amount | Provide value in seconds | 3
|  | Time latency (in Sec) | This refers to the time required to send message (instructions) to device. This is aimed to capture the communication latency between Aggregator system and end DER Devices | Provide value in seconds | 1
|  | Recovery Time (in Sec) | This refers to the Time required (post completion of test) to return to normal operation. | Provide value in seconds | 2
Tab Name | Description | Column Header | Description | Comment | Sample Value
Raw DER (Across Phase) Test | This tab provides the template to populate and present the test results of various test across different Appliances Types or the portfolio. This is to test and demonstrate Aggregator capability to move load between phases | Test Num. | This refers to a unique test identifier to be populated by the Aggregator |  | 1
|  | Service Type | This refers to the DER Service for which the test data is presented. See below list of services. |  | Balance
|  | Phase | This refers to the distribution of the load by phase at the site or at an Aggregate |  | Phase A | Phase B | Phase C
|  | Appliance Type | Name of the Appliance Type or the Appliance for which the test data is provided. See below for sample list of appliances |  | 100% ESS | 100% ESS | 100% ESS
|  | Portfolio | Mark as 'Portfolio' if providing data at portfolio level. And at the Bottom of sheet fill in the portfolio details. | Aggregator must provide Portfolio Composition (i.e. make up of the portfolio). Portfolio composition at minimum must contain 'No of Appliance by Appliance Type' and 'Appliance Size' (in terms of Electrical Load or Generation) including any other information relevant to the tests. | 2 x (1kW import, 1kW export, 12kWh) | 1x (1kW import, 1kW export, 5kWh) | 1x (1kW import, 1kW export, 12kWh)
|  | Target | This refers to the Target (nominated by Aggregator and agreed by AEMO) for the test which the Aggregator shall aim to meet. | Nominated by Aggregator and agreed with AEMO | e.g. 2kW | -1 kW | -1 kW
|  | Duration (in mins) | This refers to the duration (in minute) for which Aggregator must sustain the target amount. | For example if the Target amount is 3 kW for a period 5 min then the Aggregator is expected to sustain 3kW for 5 min period. | 10 mins
|  | Test Date | Test Date
|  | Test Interval Start time | Test Interval Start time |  | 12.1
|  | Test Interval End time | Test Interval End time |  | 12:20
|  | kWh - Interval prior to start of test period | This referred to the kWh reading or measurement immediately prior to start of the test period. This must be an instantaneous period ending measurement i.e. measured at the end of test interval/period | this represents kWh for 12.10 to 12.20 | 170 | 123 | 53
|  | kWh - During test Period | This refers to the kWh reading or measurement during test Period |  | 5 | 123 | 123
|  | Var - Interval prior to start of test period | This refers to the Var reading or measurement immediately prior to start of the test period. To be provided where applicable. |  | n.a. | n.a. | n.a.
|  | Var - During Test Period | This refers to the Var reading or measurement during test Period. To be provided where applicable |  | n.a. | n.a. | n.a.
|  | Response time (in Sec) | This refers to the time required to reach the target amount | Provide value in seconds | 3
|  | Time latency (in Sec) | This refers to the time required to send message (instructions) to device. This is aimed to capture the communication latency between Aggregator system and end DER Devices | Provide value in seconds | 1 | 2
|  | Recovery Time (in Sec) | This refers to the Time required (post completion of test) to return to normal operation. | Provide value in seconds | 2 | 2
Num. | DER Services
1 | Buck
2 | Boost
3 | Build
4 | Bridge
5 | Bridge
6 | Balance
Num. | Appliance Type
1 | Air Conditioner
2 | Inverters
3 | Pool Pump
4 | Hot Water System
5 | Energy Storage
6 | EVSE
7 | HEMS/CEMS (Home Energy management system or Customer Energy Management System)
Portfolio Composition
No of Appliance | Appliance Type | Elec name plate capacity | Comments
This refers to the number of the appliances per appliance type in the Portfolio | This refers to the Appliance types (see above) | This refers to the Aggregated electrical name plate capacity of the numbers of appliances | Any comments relevant to the portfolio or data being provided
Note on E17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: is this meant to read "i.e. for the interval prior to start of test interval/period"?

## Raw DER Test
Test Num. | Service Type | Appliance Type | Portfolio1 | Target | Duration (in mins) | Test Date | Test Interval Start time | Test Interval End time | kWh - Interval prior to start of test period | kWh - During test Period | Var - Interval prior to start of test period | Var - During Test Period | Response time (in Sec) | Time latency (in Sec) | Recovery Time (in Sec)
e.g. 1 | e.g. Buck | e.g. Air Conditioner |  | e.g. 1kW | e.g. 5 mins | i.e. 17/10/2021 | e.g. 12.05 | e.g. 12:10 | 170 | 5 | NA | NA | 3 | 1 | 2
Portfolio Composition
No of Appliance | Appliance Type | Elec name plate capacity | Comments
e.g. 3 | ESS - Storage | 18.6 kWh | Storage, Import and Export to be provided for ESS in portfolio
| ESS - Import | 15.5 kW
| ESS - Export | 15.5 kW
2 | Solar PV | 10.5 kW
1 | Hot Water System | 5.5 kW

## Raw DER Across Phase Test
Test Num. | Service Type | Phase | Appliance Type | Portfolio1 | Target | Duration (in mins) | Test Date | Test Interval Start time | Test Interval End time | kWh - Interval prior to start of test period | kWh - During test Period | Var - Interval prior to start of test period | Var - During Test Period | Response time (in Sec) | Time latency (in Sec) | Recovery Time (in Sec)
1 | Balance | Phase A | e.g. 100% ESS | 2 x (1kW import, 1kW export, 12kWh) | e.g. 2kW | e.g. 10 mins |  | e.g. 12.10 | e.g. 12:20 | 170 | 5 | NA | NA | 3 | 1 | 2
|  | Phase B | e.g. 100% ESS | 1x (1kW import, 1kW export, 5kWh) | e.g. -1 kW |  |  |  |  | 123 | 123 | NA | NA |  | 2 | 2
|  | Phase C | e.g. 100% ESS | 1x (1kW import, 1kW export, 12kWh) | e.g. -1 kW |  |  |  |  | 53 | 123 | NA | NA
1 | Balance | Phase A
Phase B
Phase C
Portfolio Composition
No of Appliance | Appliance Type | Elec name plate capacity | Comments
3 | ESS - Storage | 18.6 kWh | Storage, Import and Export to be provided for ESS in portfolio
| ESS - Import | 15.5 kW
| ESS - Export | 15.5 kW
2 | Solar PV | 10.5 kW
1 | Hot Water System | 5.5 kW