## Call for Sub. Clarifications
Last updated: | 2024-01-17
Contact: | WA.FutureSystemDesign@aemo.com.au
VendorPanel: | https://www.vendorpanel.com.au/PublicTenders.aspx?profileGroupId=4011
Item | Publication Date | Clarification | AEMO Response
1 | 2024-01-19 | Tabular figures for chart in paragraph 2.3.1. | See tab '2.3.1 figures'.
2 | 2024-01-19 | Paragraph 3.4.1 of the NCESS Service Specification requires that any facility or equipment with a System Size greater than 10 MW will be required to be registered in accordance with the WEM Rules as a Scheduled Facility or Semi-Scheduled Facility. How does this work for Unregistered Equipment? | Unregistered Equipment means any facility or equipment that is not registered and not required to be registered under the NCESS Service Specification. If the equipment does not meet the registration requirements under the WEM Rules for a Scheduled Facility or Semi-Scheduled Facility, paragraph 3.4.1 cannot apply. In general, distributed energy resources (DER) and loads cannot be registered under the WEM Rules. Further, the WEM Rules defines the System Size for all loads and DER as 0 MW.
3 | 2024-01-19 | AEMO revised the NCESS Service Specification on 19/01/2024 - why? | AEMO identified: a) an inconsistency between eligibility and the treatment of the Baseline Quantity for Registered Facilities, b) that the approach to satisfaction of Conditions Precedent in paragraphs 6.2.3 and 6.2.5 unfairly discriminated against Registered Facilities. The changes are shown in the tab 'Service Specification changes'.
4 | 2024-01-19 | When did AEMO publish template contracts for Registered Facilities and Unregistered Equipment? | AEMO published template contracts on 19/01/2024.
5 | 2024-01-19 | AEMO's template contracts for Registered Facilities and Unregistered Equipment exclude Intermittent Generating Systems - why? | AEMO expects that the templace contracts for Registered Facilities and Unregistered Equipment will generally be appropriate for Intermittent Generating Systems. However, depending on the relevant equipment and connection approach, the template contracts may need modification. As such, should AEMO select an Intermittent Generating System following the close of the Call for Submissions, AEMO will vary the template contracts to meet the needs of the facility.
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
43
44
45

## 2.3.1 figures
Month​ | Estimated Maximum Service (MW)​ | Estimated Total Service Hours​
Oct-2025​ | 0​ | 0​
Nov-2025​ | 0​ | 0​
Dec-2025​ | 187​ | 2.5​
Jan-2026​ | 214​ | 2​
Feb-2026​ | 436​ | 12​
Mar-2026​ | 285 | 4​
Apr-2026​ | 0​ | 0​
May-2026​ | 0​ | 0​
Jun-2026​ | 29 | 1​
Jul-2026​ | 221 | 3​
Aug-2026​ | 242 | 7.5​
Sep-2026​ | 0​ | 0​
Oct-2026​ | 0​ | 0​
Nov-2026​ | 0​ | 0​
Dec-2026​ | 436​ | 9​
Jan-2027​ | 436​ | 12.5​
Feb-2027​ | 436​ | 30.5​
Mar-2027​ | 436​ | 16.5​
Apr-2027​ | 0​ | 0​
May-2027​ | 23 | 1​
Jun-2027​ | 414 | 27​
Jul-2027​ | 205 | 14.5​
Aug-2027​ | 436​ | 36​
Sep-2027​ | 436​ | 8.5​

## Service Specification changes
AEMO revised the NCESS Service Specification on 19/01/2024. Changes are shown below. See Clarifications tab for more information.