## Call for Sub. Clarifications
Last updated: | 2023-03-20
Contact: | WA.MarketDevelopment@aemo.com.au
Web page: | https://aemo.com.au/consultations/tenders/tenders-and-expressions-of-interest-for-ncess-reliability-services-wa
VendorPanel: | https://www.vendorpanel.com.au/PublicTenders.aspx?profileGroupId=4011
Item | Publication Date | Clarification | AEMO Response
1 | 2023-02-24 | Can AEMO please clarify the sequencing of the NCESS procurement process? Especially, when is AEMO intending to provide a draft contract? When will the terms of the contract be negotiated with the proponents? | AEMO intends to release a standard form NCESS Contract by 10 March, we are in the process of replicating the NCESS Service Specification requirements into AEMO’s standard form contract. The Service Specification requirements specified as key contract terms will not be negotiable but some specific terms (to reflect unique characteristics of service delivery) will be specified contractually and negotiated on a case-by-case basis.
2 | 2023-02-24 | Is AEMO open to longer contract terms than 2-years? How would AEMO consider alternative offers with longer contract term? | AEMO has considered the options to allow longer contracts but has elected to retain the 2-year contract term aligning with the trigger submission. Proponents should consider best maximise their value proposition through the NCESS process, such as participating in Reserve Capacity or Essential System Services.
3 | 2023-02-24 | How would AEMO consider non-compliant bids? The “Call for NCESS Submissions Form Reliability” returnable schedule only allows to provide a “Compliant Price”. | AEMO is required by the WEM Rules to only accept compliant offers in accordance with Clause 3.11B.9 of the WEM Rules.
4 | 2023-02-24 | Clause 6.2.1 of “NCESS Service Specification Reliability” refers to “tests required by AEMO (to AEMO’s satisfaction) to demonstrate compliance with the service requirements”. Can AEMO please provide more details on these tests to ensure they can be included in a Project schedule that meets the commencement date? | AEMO does not expect to require NCESS specific tests for Registered Facilities (or Facilities that intend to register) in addition to standard testing for Generator Performance Standards and Reserve Capacity Testing. Note that all Facilities and equipment will be required to demonstrate the ability to provide the relevant services (i.e. deliver the MW quantity required).
5 | 2023-02-24 | Can AEMO confirm that the minimum Service Quantity for each service is 10 MW? | Yes. AEMO has considered feedback from the Expressions of Interest and has retained the 10 MW minimum service quantity.
6 | 2023-02-24 | In regard to 3.3.1. (c) does SRC count towards this or just DSP agreements? If it does apply, are SRC contracts that are yet to be signed included? What is AEMO’s preferred pathway for pending SRC contracts? | Paragraph 3.3.1(c) of the Specification is limited to Demand Side Programmes. However, a Supplementary Reserve Capacity contract which overlapped with the 2024/25 or 2025/26 Capacity Years would would not meet the requirements of paragraph 3.3.1(g)) of the Specification.
7 | 2023-02-24 | Can we also clarify if AEMO would prefer each unit to be separate or aggregated? | Please refer to paragraph 3.4.1 of the Specification. If a submission relates to multiple connections points, the Facility would need to be registerable under Chapter 2 of the WEM Rules as an aggregate Facility (in order to meet the required offer requirement in the Real-Time Market).
8 | 2023-02-24 | Can AEMO provide the underlying data for the figures 1 and 2 in the NCESS Service Specification | Please refer to the sheets "Minimum Demand Service" and "Peak Demand Service" in the Submission form for estimated service utilisation.
9 | 2023-03-02 | Under the ESOO, ESROI obligation intervals are defined as trading intervals starting from 16:30 and ending at 20:00, which means it ends at 20:30. A Total of 4 hrs. Is it correct, or is it specifically from 16:30 to 20:00 which is a total of 3.5 hrs? If its the latter, then could you also confirm that the capacity credits intervals also follow the same timings for the NCESS tender? | Electric Storage Resource Obligation Intervals are 8 consecutive Trading Intervals (4-hours), the NCESS Service Specification would apply the same offer obligations for Peak Demand Service as for an ESR holding Capacity Credits.
10 | 2023-03-02 | 3.4.1. Any facility or equipment with a System Size greater than 10 MW will be required to be registered in accordance with the WEM Rules as a Scheduled Facility or Semi-Scheduled Facility. Would a VPP of over 10MW need to be registered? Or does ‘System Size’ refer to the individual assets? | AEMO's view is the System Size definition (which can be found in amending rules gazetted and awaiting commencement here: https://www.wa.gov.au/government/documentcollections/wholesale-electricity-market-rules) applies to a single connection point, for all devices at that connection point.
11 | 2023-03-02 | 3.4.2. For a facility that is currently unregistered, NCESS providers must provide progress reports every 3 months after contract execution until the Facility is in Commercial Operation, including: (a) a project Gantt chart with milestones and critical path to Commercial Operation; and (b) a risk register for critical path activities. Is there a template that AEMO would like to see? | AEMO would request proponents include examples of documentation to be provided under 3.4.2, to suit their facility or equipment.
12 | 2023-03-02 | 5.1.1. AEMO will determine historical and actual Injection or Withdrawal from: (a) for Registered Facilities – SCADA end-of-interval values; and (b) for Unregistered Equipment – Interval Meter Data provided by the Meter Data Agent. We note that this particular section has changed from the Draft spec where it was: “5.1.1. AEMO will determine historical and actual Injection or Withdrawal from Interval meter Data provided by the Meter Data Agent or SCADA data.” Can AEMO clarify whether it will accept telemetered data for the purposes of measurement, a portion of which can be verified against interval meter data from Western Power, where available? | We achnowledge that this modification the NCESS Service Specification may limit some participation based on meter type (unless these meters are replaced) however, in order to maintain consistency and a common settlement approach for unregistered Facilities AEMO has made this change to the specification. AEMO would not accept telemetered behind the meter data for Distribution Connected aggregations.
13 | 2023-03-02 | 5.2. Baseline Quantity At what stage does a proponent engage with AEMO about an agreement of baselining, both for Peak Demand Service as well as Minimum Demand Service? | AEMO has identified the CAISO 10 of 10 approach under 5.2.2, proponents should idenfiy as part of their submission whether this approach is not applicable to their submission. The objective of the baselining is to create a counterfactual (what the equipment would otherwise be Injecting or Withdrawing).
14 | 2023-03-02 | 6.3. Security What amendements can be contemplated to the Security provisions | AEMO has specified the Secruity requirements under 6.3, which are common for all parties.
15 | 2023-03-08 | 2.3.1 Expectation of the frequency of service utilisation (Peak Demand Service) 1) Please describe the modelling methodology and key assumptions behind the Service MW and Service Hours figures. How do these compare with RCM expected dispatch MW and hours? Why is it so much higher than SRC for the 2022-23 summer? 2) How would the Service Hours be affected if the Service is undersubscribed and AEMO were to procure less than the target 830MW? 3) What would AEMO’s approach be to assessing facilities that can provide less than the estimated Service Hours (e.g. 30h / year)? | 1) The assumptions for fleet availability are different than for SRC for the 2022-23 summer, which results in different quantity of forecasted shortfall. For the Peak Demand Service the forecasted utilisation of the service covers both Summer and Winter periods. The methodology used to calculate the monthly peak and service hours is based on time sequential modelling of the fleet availability against demand, to identify monthly shortfall quantity and the number of hours a service shortfall exists. 2) The shortfall is independent of the Service quantity, it would not reduce the need for the service – just the service availability. AEMO intends to publish information relating to the quantity of offers received, after the close of the call for NCESS submissions and prior to undertaking the determination under 3.11B.9. 3) The Service Specification specifies the required availability, unavailability conditions and the financial and commercial outcomes associated with unavailability. The Service Specification does not contemplate a reduced availability for providers unable to meet these requirements. The WEM Rules require AEMO to reject any proposals that do not meet the Service Specification.
16 | 2023-03-08 | 4.1.4 Merit order of dispatch Which “other actions” are being referred to? Could AEMO please confirm that Unregistered Equipment would only be activated after RCM and after Scheduled and Semi-Scheduled NCESS resources? | At this stage, AEMO intends to activate the service using Unregistered Equipment after DSP dispatch (2-hours) and where pre-dispatch indicates insufficient availability in the Real-Time Market.
17 | 2023-03-08 | 3.1.2 Control and communications requirements What is the level of detail required in the tender response? In reference to 3.1.2c, would AEMO approve use of the same SCADA protocols that are being introduced for the WDRM in line with the updated NEM Power System Data Communication Standard | The communications requirements for all Facilities in the WEM are specified in the WEM Procedure Communications and Control Systems. For unregistered Equipment, AEMO expects to finalise details during contractual negotiation. Proponents should indicate capabilities in their submission.
18 | 2023-03-08 | 3.1.4 Registration Please confirm whether loads greater than 10MW will be required to register. Our understanding of the WEM rules is that they are not required to register. | Please refer to the System Size definition, which determines the system size as zero for all loads which do not contain an Electric Storage Resource.
19 | 2023-03-08 | 5.2.2b Baseline Method A method based on the CAISO 10 of 10 method will still require decisions to be made in terms of day of adjustment, exclusions/inclusions in baseline days. Will AEMO be defining this or is it up to respondents to define this? | AEMO would negotiate this as part of the final contract terms, it is intended that consistency is maintained between baselining methodologies.
20 | 2023-03-08 | Service Quantity (Peak Demand Service) Would AEMO consider a Service Quantity that could vary by time of day and/or week according to a pre-defined and fixed schedule, or that could vary with advance warning from the participant? Would AEMO consider a Service Quantity that increases towards the latter part of the NCESS period (e.g. a lower quantity for the first year and a higher quantity for the second year)? | 1) AEMO would only consider a variable Service Quantity for Unregistered Equipment where that quantity could be demonstrated to be aligned with the need for the service, submissions should outline any methodology to specify their proposed variable Service Quantity. 2) the Service Quantity must be made available from the start of the NCESS period.
21 | 2023-03-08 | Interaction between 5.3.4 and 5.4.1c) Does a provider need to meet 100% of the Dispatch Instruction or activation instruction quantity (as implied by 5.4.1c), or 90% of this quantity (according to 5.3.4) in order to not be deemed unavailable? | A Facility would be deemed unavailable where an activated quantity was not achieved, 5.3.4 specifies the minimum availability requirements.
22 | 2023-03-08 | 5.4.2 Remedy for unavailability What is process to the remedy unavailability through non-performance with 5.4.1c? | There is a general availability requirement of 90%. But for each Dispatch Interval dispatched or activated, an NCESS Provider is unavailable if they are unable to meet the requirements of the Dispatch Instruction or activation instruction.
23 | 2023-03-08 | 4.2.1b Maintenance Can maintenance be defined more broadly to include downtime for non-maintenance issues (e.g. a load not being available due to operational, rather than maintenance reasons)? | AEMO intends to maintain a consistent approach to outages as indicated in the WEM Rules. For Unregistered Equipment, variability of Service Quantity may be accounted for through a dynamic Service Quantity – where that methodology is approved by AEMO.
24 | 2023-03-08 | In an effort to accurately represent our Service Quantity and ensure 100% compliance with NCESS Specification, I’d like to please clarify the definition of the Minimum Demand Service. As per clause 2.1.2. of the Specification as “The Minimum Demand Service (measured in MW of response capability) is to decrease Injection or increase Withdrawal.” | For Unregistered Equipment a Service Quantity which includes both the reduction of injection and increase in withdrawal would be eligible, subject to meeting all other requirements of the NCESS Service Specification.
25 | 2023-03-08 | In the tender both 30 minute and 5 minute intervals are mention. Are you able to confirm what the intervals will be? For example, under 2.2 it is stated that the service must be provided for 8 consecutive intervals at 30 minute intervals. Where under 3.1 it states the service must be provided continuously for 48 intervals at 5 minute intervals. | For Registered Facilities the NCESS Service will be delivered in accordance with Central Dispatch on a per Dispatch Interval basis (5-minute) for all Dispatch Intervals within the service timing (2.2.4). Where the service timing specifies a Trading Interval (30 Minute) the offer obligations apply for each Dispatch Interval in that Trading Interval. For Unregistered Equipment, activation will be based on a 30 minute Trading Interval.
26 | 2023-03-15 | The Minimum Demand Service only allows quantities starting from 10MW. Would the service from multiple seperately registered Facilities which combined exceed 10 MW be compliant? | Both Services have a minimum quantity of 10 MW, Registered Facilities would need to meet this requirement individually.
27 | UPDATED 16 March 2023 via email and the VendorPanel. | Question on clause 5.5.3 Could you please confirm that an existing facility which currently and will receives capacity credits in capacity years 2024/25 and 2025/26 will not have their NCESS Contract payments reduced if the NCESS quantity offered is above its Reserve Capacity Credits? | There is a degree of complexity with the pricing structure required to be submitted as part of NCESS Submissions, specifically interactions with Clause 5.3.1 of the WEM Rules. AEMO is open to providing feedback to offer structures in advance of the close of NCESS Submissions on 21 March 2023. - Unregistered Facilities will not hold Capacity Credits and should therefore price without reference to any Capacity Credit payments. - Registered Facilities not holding Capacity Credits, which may receive Capacity Credits in 2024-25 and 2025-26, should price without reference to any Capacity Credit payments. AEMO will structure NCESS Contracts to ensure any Capacity Credits subsequently assigned to that Facility are included in the contract value such that the adjustment under Clause 5.3.1(a) of the WEM Rules may be applied. - Registered Facilities holding Capacity Credits, offering an additional Service Quantity. Offers should be made for payments relating to the Service Quantity only and should be priced without reference to any Capacity Credit payments. AEMO will structure NCESS Contracts to ensure all Capacity Credits assigned to that Facility are included in the contract value such that the adjustment under Clause 5.3.1(a) of the WEM Rules may be applied.
28 | 2023-03-15 | Paragraph 2.1 indicates: "An NCESS Submission may specify the Minimum Demand Service, the Peak Demand Service, or both services" If both services are offered in one NCESS Submission, is there a risk that AEMO only awards one service to the proponent and not the other? | AEMO would consider all services offered as part of a submission as a single offer, we would not consider these as separate offers.
29 | 2023-03-15 | May a proponent submit several NCESS Submissions? | Yes, a proponent may submit several NCESS Submissions.
30 | 2023-03-15 | AEMO has indicated (clarification #1) their intention to release a standard form NCESS Contract by 10 March. Are proponents expected to propose departures to the NCESS Contract as part of their bid? Or will the contract be negotiated after AEMO's decision? | AEMO is still finalising the NCESS Contract for release. Any contract terms which are not captured under the NCESS Service Specification would be agreed following selection of the NCESS Submissions under 3.11B.9.
31 | 2023-03-15 | We understand that the purpose of the Baseline Quantity concept is to create a counterfactual for existing facilities, is that correct? Can AEMO please confirm that the Baseline Quantity for a new facility will be equal to zero? | Yes, the Baseline provides the pre-existing obligations or expected behavior in the absence of the NCESS Contract. The Baseline Quantity for a new Registered Facility will be equal to zero.
32 | 2023-03-15 | Clarification #4 indicates that "AEMO does not expect to require NCESS specific tests" but at the same time "all Facilities and equipment will be required to demonstrate the ability to provide the relevant services (i.e. deliver the MW quantity required)". These two sentences seem inconsistent. Can AEMO please clarify if there will be any other test than Generator Performance Standards and Reserve Capacity Testings? | AEMO would expect to verify the capability of a NCESS Provider to deliver the Service Quantity for any contracted services. AEMO would expect to work with proponents to specify the optimal means of verification.
33 | 2023-03-15 | Paragraph 5.4.1 states: "The service will be deemed unavailable in any Dispatch Interval required by paragraph 2.2.3 where…". Is the reference to "paragraph 2.2.3" meant to be a reference to "paragraph 2.2.4"? The purpose of this question is to confirm if an "Availability Interval" (as mentioned in the "Pricing" sheet of the submission form) is any interval during the term of the contract, or only an interval associated with Peak/Minimum Demand Service. | Yes, the correct reference is paragraph 2.2.4. Availability payments would payable only in the intervals specified under paragraph 2.2.4 (not all intervals associated with the term of the contract).
34 | 2023-03-15 | Paragraph 3.1.1(b) indicates that facilities are expected to be capable to "deliver the Service Quantity continuously for 48 consecutive Dispatch Intervals". Is AEMO intending to perform testings to audit compliance with this requirement, other than the Reserve Capacity Testings? | AEMO would expect to verify the capability of a NCESS Provider to deliver the Service Quantity for any contracted services. AEMO would expect to work with proponents to specify the optimal means of verification.
35 | 2023-03-15 | The “Cost” selection criteria says that the cost of the service will be “compared to other proposals weighted for equal comparison of quantity, duration, and proportionality.” Can you please provide the formulas by this weighting will be carried out? | We do not propose to publish the methodology used to assess against this clause. AEMO will finalise this assessment based on the variables associated with received offers.
36 | 2023-03-15 | What is the meaning of “proportionality” in the Cost selection criteria? | AEMO will consider the quantity of service allocated to any single Facility or equipment.
37 | 2023-03-15 | Does the “Availability” selection criteria refer to the service quantity being available earlier in the day each day, or earlier than the NCESS start day? | The Availability criteria reflects an earlier contract commencement (between 1 October 2024 and 1 December 2024).
38 | 2023-03-15 | How would AEMO assess a proposal that provides a Service Quantity that is available in year 1 and a quantity in excess of the Service Quantity that is available in year 2? If, during the contract term, a facility were to make available excess capacity available above the contracted Service Quantity, is AEMO allowed to, and would it consider purchasing this quantity also? | AEMO is unable to procure additional service during the contract term.
39 | 2023-03-15 | Would AEMO consider a proportional penalty regime for unavailability (e.g. the penalty being a multiple of the proportion of the shortfall in capacity delivered), rather than the binary ‘cliff’ structure outlined in the service specification (i.e. considered unavailable if the dispatch quantity is less than 100% of the dispatch instruction or activation instruction)? | The unavailability clause 5.4.1 reflects the need to deliver the quantity of dispatched or activated service.
40 | 2023-03-15 | In reference to a previously submitted question, what is the specific method for remedying unavailability through non-performance with 5.4.1c? Will AEMO undertake a test to confirm the facility is available again (and what would be the timing of this)? Or can the NCESS provider remedy this through the control and comms channel or some other means? | Clause 5.4.1 is an interval by interval assessement, with unavailability (and payment) considered on each invidual interval outcomes. The remedy for each cause of unavailability is dependent on the specific cause of unavailability and may, in the event of consistent unavailability require AEMO to schedule a test to confirm a Facility or equipment is capable of delivering the relevant service. Note, 5.4.2 applies only in the circumstances of a test.
41 | 2023-03-15 | Will the NCESS contract be transferrable to another market participant if the service that is being provided is still from the same facility? | AEMO will include a novation capability in the NCESS Contract, subject to AEMO's acceptance and the fullfillment of other obligations under the WEM Rules relating to any transfer.
43 | 2023-03-15 | If an NCESS tender was submitted with responses for both Peak Demand and Minimum Demand Services, can AEMO choose to proceed with one and not the other? | No, AEMO will only consider all services offered in a submission.
44 | 2023-03-15 | When considering unregistered equipment it is unclear whether only the FRMP for that NMI is permitted to be the service provider. Can AEMO please confirm if this is the case, and if so, if it applies to both contestable and non-contestable customers? | AEMO has not identified any Rule requirement which would require unregistered equipment to be offered by the Financially Responsible Market Participant for the relevant connection point for an NCESS (for either contestable or non-contestable customers). To the extent that Unregistered Equipment is owned operated or controlled by a third-party, AEMO will require the service provider to use reasonable endeavors to ensure that the third-party is capable of meeting the service requirements specified in the NCESS Service Specification.
45 | 2023-03-15 | 1. Will AEMO allow providers to add conditions precedent to the contract such as: a. Subject to Western Power providing the network capacity to provide the service; and b. Subject to final investment decision for the project. | AEMO relies on offers made in good faith and needs to ensure all offers represent comittement to delivery of the relevant services. All Conditions Precedent will be linked to the Security and non-performance of the CP's would result in forefit of the Security.
46 | 2023-03-17 | What is AEMO’s preferred structure for us to bid our capacity in different MW/price tranches (e.g. same submission or separate submissions)? | We request any submissions at different prices be made separately. Please note that any spearate offer may be contracted individually.
48 | 2023-03-17 | Can we reduce the nominated Service Capacity ahead of start date (e.g. we bid 150MW now, but reduce to 140MW ahead of the start date)? If so, would we lose security for the whole amount or just the reduction? | AEMO needs to ensure contracted quantities are made available by the contract start date, any shortfall would result in failure to meet the Conditions Precedent with a resulting forefit of security.
49 | 2023-03-17 | When does security need to be provided? | AEMO will specify this contractually, AEMO expects Security to be in place within a reasonable time from Contract execution (ca. by 1 October 2023), this will be a Condition Precedent to the formation of the NCESS Contract.
50 | 2023-03-17 | Per below, would AEMO consider an alternative penalty regime to the binary ‘cliff’ structure outlined in the service specification (i.e. considered unavailable if the dispatch quantity is less than 100% of the dispatch instruction or activation instruction)? The cliff structure incentivises unfavourable behaviour (e.g. if a provider knows they can only deliver 98%, then they may as well just deliver 0% as the penalty would be the same) and doesn’t incentivise delivering any more capacity than the dispatch quantity, if it was available and useful to AEMO at the time. Other penalty regimes can solve these issues – e.g. a proportional penalty regime where the penalty is related to the amount of shortfall. | In order to apply a consistent approach to all submissions and reflect the need to secure sufficient quantities of service AEMO has structured the unavailability provisions to ensure the total quantity of service is made available. AEMO's expectation is that Service Providers will offer quantities that they are capable of providing, having regard to the Minimum Availability Requirement.
51 | 2023-03-17 | 3.11B.10 in the WEM Rules says that “AEMO or the Network Operator, as applicable… must exclude NCESS Submissions that do not comply with the NCESS Service Specification”. How will this work in practice for areas of the service spec that are not defined (e.g. 3.1.2 in service spec requires comms protocols to be approved by AEMO, but we don’t yet know if our proposed protocols will be approved. Will there be opportunity to refine our proposal to ensure that it is approved?) or where we propose alternatives (e.g. to the penalty structure for unavailability per the question above). Will a non-compliant bid actually be excluded by default? | AEMO must exclude NCESS Submissions which do not comply with the NCESS Service Specification. Offers which include alternatives to specified requirements may not be accepted. Where an item must be approved by AEMO's, inclusions of sufficient information for AEMO to assess that item would be considered compliant, AEMO may clarify that item before determining whether to accept that offer.
52 | 2023-03-17 | Given most capacity credits are traded bilaterally (and AEMO doesn’t know their price), how does AEMO determine the value of these capacity credit payments that will be subsequently included in the NCESS contract value? Will the RCP or Transitional price be used? | AEMO will use the Reserve Capacity Price when that price is determined. The Reserve Capacity Price is not required for AEMO's assessment of the offer.
53 | 2023-03-17 | Registered facilities are requested to bid an NCESS price exclusive of expected Capacity Credit payments (i.e. the price they want on top of what they’d get in RCM), whereas Unregistered facilities are requested to bid a price without reference to Capacity Credit Payments (i.e. the total price they’d want). Therefore, given the RCM price is not yet known, the price that a registered facility bids is also not known. - How will AEMO assess an unknown price from a registered facility against a defined price from an unregistered facility? Particularly, given the price submitted by a registered facility will exclude expected Capacity Credit payments, it will most likely be significantly lower than the price submitted by an unregistered facility - Would AEMO allow unregistered facilities to submit prices a dollar value or percentage value below or above “whatever the RCM price will be”. This would be more consistent with how registered facilities will price and would allow for like-for-like comparison of prices. | Unfortunately, the information AEMO provided on the offer structures was incorrect. It has now been corrected. Proponents should submit all offers without regard to any potential Reserve Capacity payments.
54 | 2023-03-20 | Should the availability and activation prices be offered on a per Trading Interval basis (30-minute) or on a per Dispatch Interval basis (5-minute)? | Prices must be provided on a $/Trading Interval/MW basis. This is to ensure consistency between Unregistered Equipment (activated in Trading Intervals) and Registered Facilities (dispatched in relevant Dispatch Intervals).
55 | 2023-03-20 | Is availability assessed (and payment made) on a per Dispatch Interval or Trading Interval basis? | Under paragraphs 5.4.1 and 5.5.2 of the NCESS Service Specification, AEMO must determine availability and the availability payment on a Dispatch Interval basis. As AEMO will activate Unregistered Equipment on a Trading Interval basis, AEMO will apply the Trading Interval availability to each Dispatch Interval in that Trading Interval.
56 | 2023-03-20 | Regarding Market Rules 3.11B.9(b): - Will the proponent be required to enter into whatever contract AEMO proposes; and - Does AEMO intends to provide a draft contract for Market Participants for comment prior to execution? | AEMO will provide a draft contract to successful NCESS providers prior to execution. While all items in the NCESS Service Specification are material contract terms and are unable to be negotiated, AEMO will reasonably consider other variations from the draft contract.
57 | 2023-03-20 | We are considering included conditions precedent in our submission. Will AEMO would consider conditions precedents in the NCESS Submission to be non-compliant/not supporting of the NCESS delivery dates? | WEM Rule 3.1B.14(a) requires that each successful service provider must, within 10 Business Days of receiving the executed NCESS Contract, enter into an NCESS Contract with AEMO. As such, all submissions must be final and may not include any conditions precedent.

## Minimum Demand Service
Estimated Service Usage
Month | Quantity (MW) | Hours
2024-10-01 | 189.8743 | 16
2024-11-01 | 254.0684 | 9
2024-12-01 | 195.8917 | 11
2025-01-01 | 0 | 0
2025-02-01 | 0 | 0
2025-03-01 | 227.1594 | 7
2025-04-01 | 0 | 0
2025-05-01 | 0 | 0
2025-06-01 | 0 | 0
2025-07-01 | 0 | 0
2025-08-01 | 80.6924 | 2
2025-09-01 | 269 | 22
2025-10-01 | 269 | 43
2025-11-01 | 269 | 20
2025-12-01 | 269 | 22
2026-01-01 | 64.0253 | 2
2026-02-01 | 37.2526 | 5
2026-03-01 | 269 | 12
2026-04-01 | 32.8254 | 2
2026-05-01 | 0 | 0
2026-06-01 | 0 | 0
2026-07-01 | 0 | 0
2026-08-01 | 174.7402 | 3
2026-09-01 | 269 | 42

## Peak Demand Service
Estimated Service Usage
Month | Quantity (MW) | Hours
2024-10-01 | 0 | 0
2024-11-01 | 0 | 0
2024-12-01 | 577.8842 | 15
2025-01-01 | 755.5736 | 26
2025-02-01 | 443.2634 | 14
2025-03-01 | 354.6157 | 3
2025-04-01 | 0 | 0
2025-05-01 | 0 | 0
2025-06-01 | 471.7083 | 11
2025-07-01 | 137.9436 | 2
2025-08-01 | 281.2724 | 2
2025-09-01 | 0 | 0
2025-10-01 | 0 | 0
2025-11-01 | 0 | 0
2025-12-01 | 609.7477 | 15
2026-01-01 | 794.0975 | 27
2026-02-01 | 478.9304 | 14
2026-03-01 | 422.4977 | 5
2026-04-01 | 0 | 0
2026-05-01 | 0 | 0
2026-06-01 | 522.2348 | 13
2026-07-01 | 176.7152 | 2
2026-08-01 | 326.9602 | 2
2026-09-01 | 0 | 0

## EOI Clarifications
Item | Date | Clarification | AEMO Response
1 | 2023-01-06 | Do 2.3.2(a), 4.1.1.(b)(i), 4.1.3 and 4.1.4 interact to require (see below): | (see below)
1.1 | 2023-01-06 | Service is offered every day of the year between 16:30-20:00 AWST (per ESOO pp48-49); | Yes, subject to any changes published to the Electric Storage Resource Obligation Intervals in accordance with the WEM Procedure: Electric Storage Resource Obligation Intervals.
1.2 | 2023-01-06 | Service is required to be activated only when AEMO provides dispatch signal (with notice period of 15 minutes to 2 hours TBD); and | For unregistered equipment the service will be activated via an activation signal from AEMO. Registered Facilities will be dispatched through Central Dispatch.
1.3 | 2023-01-06 | Dispatch trigger for AEMO acting is “when AEMO considers that other actions...are likely to be insufficient to manage the peak demand” (i.e. NCESS Reliability is lowest on merit order, after RCM services). Additionally, which service would be dispatched first between SRC and NCESS in the merit order? | Unregistered equipment would be activated where AEMO considers insufficient energy is forecast to be dispatched through Central Dispatch, identifying the need to activate the NCESS service. No SRC is currently in-place for the period for which the NCESS is being procured (from October 2024). AEMO would consider the interactions of these services in any subsequent SRC process if required.
2 | 2023-01-06 | What does 3.1.4(c) require in terms of telemetry? Does this require sending of data every 5 minutes to AEMO, or the ability to send 5 minute data upon request from AEMO in near real-time, or the ability to send 5 minute data at a later date? If requires streaming, is a log in to a portal (similar to suggestions here) sufficient? | The telemetry requirements are for sending of data to AEMO every 5-minutes. Respondents who nominate alternatives to SCADA may advise their proposed solution as part of an EOI response. AEMO expects to refine the telemetry requirements in terms of granularity, latency and data format in the final NCESS Service Specification. Telemetry which makes datapoints available to AEMO through industry standard communication protocols are preferred.
3 | 2023-01-06 | Do 3.3.1(a) and (b) preclude resources that have capacity credits (Certified Reserve Capacity) for 1/10/24-1/10/25 or 1/10/25-1/10/26 periods? How does that tie with the statement in the purple box “the eligibility requirements for this NCESS procurement process do not preclude participation in the 2022 Reserve Capacity Cycle [for 1/10/24-1/10/25]”? | 3.3.1(a)(i) refers to the 2022/23 and 2023/24 Capacity Years (rather than capacity cycles), meaning any quantities currently assigned Capacity Credits would not be eligible for this NCESS. Additional quantities from existing Facilities or new Facilities yet to be certified in the 2024/25 Capacity Year (in the 2022 Capacity Cycle) would be eligible to participate in this NCESS. 3.3.1(a)(ii) refers to any reduction in Capacity Credits for an existing Facility in the 2022/23 Capacity Year.
4 | 2023-01-06 | Does 3.3.1(c) preclude resources that are participating in SRC in the current summer (2022-23) period? | There should be no barrier for SRC providers in 2022/23 from participating in NCESS where they are able to meet the eligibility requirements under 3.3.1.
5 | 2023-01-06 | Does 3.3.1(d) preclude resources concurrently participating in both SRC and NCESS? | Any Service Quantity would not be eligible to provide both a Peak Demand Service (NCESS) and SRC. Therefore the same Service Quantity would not be capable of contracting for SRC (where required) over the same time period as an NCESS.
6 | 2023-01-06 | 4.1.3 references the notice period being 12 Dispatch Intervals (implied to be 5 minutes each), however 2.3.3 notes that activations/dispatches may occur on one or more Trading Intervals (i.e 30 minutes) up to a maximum of 8 consecutive trading intervals. Please confirm whether the maximum dispatch period is 8 Trading Intervals (4 hours), or 8 Dispatch Intervals (40 minutes). | The maximum activation duration for both services is set at 4-hours (8 Trading Intervals), the notice for activation (for unregistered equipment) is set at 12 Dispatch Intervals (1-hour). AEMO requests any feedback to the notice period or maximum activation duration.
7 | 2023-01-06 | For DER or Demand Response Aggregations which may not have all connection points associated with the aggregation confirmed, how will AEMO confirm the requirements under 3.2.1(b)? | AEMO acknowledges that aggregations may be more challenging to consider under 3.2.1, where the specific connection points are yet to be determined. AEMO requests respondents nominate the areas (geographic or by Transmission Node Identifier) for which the respondent would be seeking to provide the service. AEMO will also be refining the requirements for respondents to provide evidence of their capability to provide services for new Facilities or Aggregations in future stages of this NCESS procurement process.
8 | 2023-01-06 | The Excel document “NCESS Submission Form Reliability” says that “AEMO has provided guidance on the number of Trading Intervals it expects to enable the service” (EOI Response Tab, cell C10). Could you please advise of where this guidance is provided? We have not found reference to any guidance on the number or frequency of activations. | Table 1 and Figure 3 of AEMO’s Trigger Submission provide details for forecast utilisation of the Minimum Demand Service. AEMO has not published forecasts for the activation of the Peak Demand Service. We request respondents state their assumptions of activation in their submission.
9 | 2023-01-06 | The Excel document references a “Compliant Price” in cell B1 in the Pricing Tab, but does not specify what these compliant prices are. Could you please advise of what the compliant prices are for the Availability Payment and Activation Payment? | The “Compliant Price” requested under column B is a price offered by a respondent without any non-compliances from the draft NCESS Service Specification. Column C “Alternative Price” may be used to identify alternative offers which include non-compliances from the draft NCESS Service Specification (to be specified), which AEMO may consider when determining whether to modify the draft NCESS Service Specification.
10 | 2023-01-06 | What is the timeline for reviewing EOIs and awarding? Is there a secondary stage after the EOI? | The NCESS procurement process is specified under 3.11B of the WEM Rules. 3.11B.4 specifies the post EOI determination to be made by AEMO in consultation with the Coordinator.