## Clarifications
Item | Date | Clarification | AEMO Response
1 | 2023-01-06 | Do 2.3.2(a), 4.1.1.(b)(i), 4.1.3 and 4.1.4 interact to require (see below): | (see below)
1.1 | 2023-01-06 | Service is offered every day of the year between 16:30-20:00 AWST (per ESOO pp48-49); | Yes, subject to any changes published to the Electric Storage Resource Obligation Intervals in accordance with the WEM Procedure: Electric Storage Resource Obligation Intervals.
1.2 | 2023-01-06 | Service is required to be activated only when AEMO provides dispatch signal (with notice period of 15 minutes to 2 hours TBD); and | For unregistered equipment the service will be activated via an activation signal from AEMO. Registered Facilities will be dispatched through Central Dispatch.
1.3 | 2023-01-06 | Dispatch trigger for AEMO acting is “when AEMO considers that other actions...are likely to be insufficient to manage the peak demand” (i.e. NCESS Reliability is lowest on merit order, after RCM services). Additionally, which service would be dispatched first between SRC and NCESS in the merit order? | Unregistered equipment would be activated where AEMO considers insufficient energy is forecast to be dispatched through Central Dispatch, identifying the need to activate the NCESS service. No SRC is currently in-place for the period for which the NCESS is being procured (from October 2024). AEMO would consider the interactions of these services in any subsequent SRC process if required.
2 | 2023-01-06 | What does 3.1.4(c) require in terms of telemetry? Does this require sending of data every 5 minutes to AEMO, or the ability to send 5 minute data upon request from AEMO in near real-time, or the ability to send 5 minute data at a later date? If requires streaming, is a log in to a portal (similar to suggestions here) sufficient? | The telemetry requirements are for sending of data to AEMO every 5-minutes. Respondents who nominate alternatives to SCADA may advise their proposed solution as part of an EOI response. AEMO expects to refine the telemetry requirements in terms of granularity, latency and data format in the final NCESS Service Specification. Telemetry which makes datapoints available to AEMO through industry standard communication protocols are preferred.
3 | 2023-01-06 | Do 3.3.1(a) and (b) preclude resources that have capacity credits (Certified Reserve Capacity) for 1/10/24-1/10/25 or 1/10/25-1/10/26 periods? How does that tie with the statement in the purple box “the eligibility requirements for this NCESS procurement process do not preclude participation in the 2022 Reserve Capacity Cycle [for 1/10/24-1/10/25]”? | 3.3.1(a)(i) refers to the 2022/23 and 2023/24 Capacity Years (rather than capacity cycles), meaning any quantities currently assigned Capacity Credits would not be eligible for this NCESS. Additional quantities from existing Facilities or new Facilities yet to be certified in the 2024/25 Capacity Year (in the 2022 Capacity Cycle) would be eligible to participate in this NCESS. 3.3.1(a)(ii) refers to any reduction in Capacity Credits for an existing Facility in the 2022/23 Capacity Year.
4 | 2023-01-06 | Does 3.3.1(c) preclude resources that are participating in SRC in the current summer (2022-23) period? | There should be no barrier for SRC providers in 2022/23 from participating in NCESS where they are able to meet the eligibility requirements under 3.3.1.
5 | 2023-01-06 | Does 3.3.1(d) preclude resources concurrently participating in both SRC and NCESS? | Any Service Quantity would not be eligible to provide both a Peak Demand Service (NCESS) and SRC. Therefore the same Service Quantity would not be capable of contracting for SRC (where required) over the same time period as an NCESS.
6 | 2023-01-06 | 4.1.3 references the notice period being 12 Dispatch Intervals (implied to be 5 minutes each), however 2.3.3 notes that activations/dispatches may occur on one or more Trading Intervals (i.e 30 minutes) up to a maximum of 8 consecutive trading intervals. Please confirm whether the maximum dispatch period is 8 Trading Intervals (4 hours), or 8 Dispatch Intervals (40 minutes). | The maximum activation duration for both services is set at 4-hours (8 Trading Intervals), the notice for activation (for unregistered equipment) is set at 12 Dispatch Intervals (1-hour). AEMO requests any feedback to the notice period or maximum activation duration.
7 | 2023-01-06 | For DER or Demand Response Aggregations which may not have all connection points associated with the aggregation confirmed, how will AEMO confirm the requirements under 3.2.1(b)? | AEMO acknowledges that aggregations may be more challenging to consider under 3.2.1, where the specific connection points are yet to be determined. AEMO requests respondents nominate the areas (geographic or by Transmission Node Identifier) for which the respondent would be seeking to provide the service. AEMO will also be refining the requirements for respondents to provide evidence of their capability to provide services for new Facilities or Aggregations in future stages of this NCESS procurement process.
8 | 2023-01-06 | The Excel document “NCESS Submission Form Reliability” says that “AEMO has provided guidance on the number of Trading Intervals it expects to enable the service” (EOI Response Tab, cell C10). Could you please advise of where this guidance is provided? We have not found reference to any guidance on the number or frequency of activations. | Table 1 and Figure 3 of AEMO’s Trigger Submission provide details for forecast utilisation of the Minimum Demand Service. AEMO has not published forecasts for the activation of the Peak Demand Service. We request respondents state their assumptions of activation in their submission.
9 | 2023-01-06 | The Excel document references a “Compliant Price” in cell B1 in the Pricing Tab, but does not specify what these compliant prices are. Could you please advise of what the compliant prices are for the Availability Payment and Activation Payment? | The “Compliant Price” requested under column B is a price offered by a respondent without any non-compliances from the draft NCESS Service Specification. Column C “Alternative Price” may be used to identify alternative offers which include non-compliances from the draft NCESS Service Specification (to be specified), which AEMO may consider when determining whether to modify the draft NCESS Service Specification.
10 | 2023-01-06 | What is the timeline for reviewing EOIs and awarding? Is there a secondary stage after the EOI? | The NCESS procurement process is specified under 3.11B of the WEM Rules. 3.11B.4 specifies the post EOI determination to be made by AEMO in consultation with the Coordinator.